This permit must be completed for any work involving cutting, coring or drilling into concrete or masonry surfaces where work is within 3m of a known electrical, gas, water or telecommunications service and where the depth of the penetration is >40 mm or is determined by risk assessment to require one.

**MIRVAC**

**PERMIT**

**ISSUER**

**T**

**O**

**C**

**O**

**M**

**P**

**L**

**E**

**T**

**E**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Workplace** | | | | | | | | | | | | | |
| Permit No |  | | | | | | | | | | | | |
| Start Date: |  | | Time: |  | | am |  | pm | |  | | Note: Expires 24 hours after issued unless agreed in writing by Mirvac | |
|  |  | |  |  | |  |  |  | |  | |
| Permit Issuer  (Mirvac Representative) | |  | | | Permit Holder  (Service Provider) | | | | | |  | | |
| Company Name Coordinating Permit | |  | | | Coring/chasing | | | | Drilling | | | | Other |
| **Description of Work to be Undertaken** | | | | | | | | | | | | | |

|  |
| --- |
|  |
| **If the work is in proximity to utility services, describe the precautions that must be in place and the level of proof of identification and mark-up required** *(e.g. Identified with waterproof marker)* |

|  |
| --- |
|  |

|  |  |  |  |
| --- | --- | --- | --- |
| **List the required precautions that must be in place for the work?** | **Yes** | **No** | **N/A** |
| Have flammable liquids, vapours, gases, dusts been removed? |  |  |  |
| Is a fire extinguishers/hose reel located at the work area for any potential source of ignition/sparks? |  |  |  |
| Is the area clean and free of all combustible materials within 4 metres? |  |  |  |
| Is the slurry or other discharge area bunded or nearby drains protected to prevent pollution? |  |  |  |
| Is noise and dust contained? |  |  |  |
| Are semi-enclosed/enclosed areas ventilated to prevent buildup of carbon monoxide or other fumes? (i.e. local exhaust extraction system, e.g. exhaust fans or tubes) |  |  |  |
| Will extracted fumes affect other nearby work areas due to prevailing winds or other?? |  |  |  |
| Is the drilling or cutting/coring machine serviced and maintained? |  |  |  |
| Are core holes, chases & cutting lines clearly marked outlining location, position & depth? |  |  |  |
| Has location below core hole been clearly identified? |  |  |  |
| Is a pilot hole required to identify this location? |  |  |  |
| Are warning notices, shields and barricades in place? |  |  |  |
| Is the core hole or chase through a structural member, e.g. pre-stressed beam/slab? |  |  |  |
| If Yes - Engineering certification is to be attached to this permit. |  |  |  |
| Have all structural components (e.g. stands) been identified and marked up? |  |  |  |
| Does the area require scanning using electronic detection methods (ground penetrating radar) prior to the works starting? |  |  |  |
| **Permit Holder (Service Provider) Confirmation that controls will be put in place** |  |  |  |
| Does the Service Provider agree with the precautions required above? |  |  |  |
| Are there any additional precautions that should be in place for the works to proceed safely? |  |  |  |
| Is there an approved SWMS/JSEA in place? |  |  |  |
| Have asset owners been advised of the work and as-built drawings attached? |  |  |  |
| Has DBYD information been obtained and reviewed? |  |  |  |
| If required, has Ground Penetrating Radar been used to scan the area for services? |  |  |  |
| Have services been visually identified and marked up using waterproof marker? |  |  |  |
| Have exposed services been adequately protected (e.g. Mechanical cover in place)? |  |  |  |
| Have precautions been made for an adequate exclusion zone with signage & barriers and spotter to prevent unauthorised entry? |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Isolation of the Work Area - In Slab, In Wall**  **The items nominated below have been isolated and made safe** | **Yes** | **No** | **N/A** |

|  |  |  |  |
| --- | --- | --- | --- |
| Pipelines (water, steam, gas, fuel, or other) |  |  |  |
| Mechanical plant or equipment |  |  |  |
| Cable telephone/communications |  |  |  |
| Electrical Services |  |  |  |
| Isolation/danger/lock-out tags in place |  |  |  |
| Service trades below have cleared the work area for work to commence |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name: |  | | Signature: |  | Date: |  |
| Name: |  | | Signature: |  | Date: |  |
| Name: |  | | Signature: |  | Date: |  |
| Name: |  | | Signature: |  | Date: |  |
| **Service Provider Confirmation** | | **Name:** | | **Signature:** | **Date:** | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Permit Issuer (Mirvac Rep) Confirmation that Controls are in Place and Authorisation for Works to Proceed** | **Yes** | **No** | **N/A** |
| All controls required by this permit are in place? |  |  |  |
| Do you confirm you have inspected the site of the work and conducted a second check to ensure adequate exclusion zone and no other controls are required? |  |  |  |
| A plan / drawing is marked up with the location of core holes, cutting lines &  services (type & location) identified on the plan/drawings; required photos attached. |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Mirvac Rep Confirmation (Permit Issuer)** | **Name:** | **Signature:** | **Date:** |
| **Workplace Manager Confirmation** | **Name:** | **Signature:** | **Date:** |

**M**

**I**

**R**

**V**

**A**

**C**

**T**

**O**

**C**

**O**

**M**

**P**

**L**

**E**

**T**

**E**

**S**

**E**

**R**

**V**

**I**

**C**

**E**

**P**

**R**

**O**

**V**

**I**

**D**

**E**

**R**

**T**

**O**

**C**

**O**

**M**

**P**

**L**

**E**

**T**

**E**