INDUSTRIAL WORKPLACE RISK MANAGEMENT PLAN

NSW Industrial

Contents

1	Revision	5

1.1	Introduction and Business Context of the WRMP	5

1.2	Facility Specific Amendment	5

2	Introduction	6

2.1	Workplace Risk Management Plan	6

3	HSE Policy	6

3.1	HSE Leadership and Commitment	6

4	Workplace HSE Planning	6

4.1	Workplace Implementation Health, Safety & Environment (HSE) Hazards, Aspects/Impacts	6

4.1.1	Safety in Design (DOOR)	7

4.2	Legal & Other Requirements	7

4.3	HSE Objectives, Targets & Initiatives	7

4.3.1	Achievement of O&I Division Objectives and Targets	7

5	Workplace Implementation	9

5.1	Workplace Organisational Structure	9

5.2	Training, Awareness & Competency	9

5.2.1	Visitor Induction and Access	10

5.2.2	Site Induction	10

5.2.3	Service Provider Induction	10

5.3	HSE Consultation, Communication and Reporting	11

5.3.1	HSE Consultation, Co-operation and Co-ordination (CCC)	11

5.3.2	Access to HSE information	11

5.4	Document and Data Control	11

5.5	Hazard/Aspect Identification, Risk Assessment & Risk Control	12

5.5.1	General risk and hazard management at the workplace	12

5.5.2	Reporting hazards and issues	12

5.5.3	Faulty or defective plant or equipment	12

5.5.4	Engaging Service Providers	12

5.5.5	Workplace HSE Instruction (non-conformity)	13

5.5.6	Client, Public and Other Entity Interfaces	13

5.6	Emergency Response and Evacuation	13

6	Measuring and Evaluating	13

6.1	Monitoring of Workplace	13

6.2	Monitoring of Plant, Equipment & Processes	14

6.3	Non-Conformities and Corrective/Preventative Action	15

6.3.1	HSEMS Internal Audits	15

6.3.2	Incidents at the Workplace (Including Critical Incidents)	16

6.3.3	Injury management & return to work	16

6.3.4	Unacceptable Behaviours	16

6.3.5	Counselling & Employee Assistance	16

6.3.6	Non-conformities and HSEMS Improvements	16

6.4	HSE Records	17

6.5	Management Review	17

Appendix 1 – Workplace organisation chart	18

Appendix 2 – Important HSE Internet Addresses	19

Appendix 3 – HSE Documents	20

Appendix 4 – Workplace Document Matrix	21

Appendix 5 – Workplace Description	24

Appendix 6 – Plant & Equipment Inspection and Testing Schedule	26

Appendix 7 – Training Requirements	30

Appendix 8 – HSE&S Scorecard KPIs	31

Revision

Introduction and Business Context of the WRMP

The Mirvac HSE Management System (Mirvac HSEMS), combined with Mirvac Office & Industrial Division (O&I) Workplace Risk management Plan (WRMP) provide the framework for HSE management at Mirvac O&I workplaces.

The WRMP template is documented and managed by O&I HSE via the O&I HSE Document SharePoint intranet site (SharePoint).

Facility Specific Amendment

The table below provides the history of the workplace specific changes to the WRMP. The Workplace Manager and Facility Manager reviews the WRMP at maximum 12-month intervals. The WRMP is also reviewed as part of the internal HSE Management System Audits every 12 months.

Workplace specific revisions to this plan may be independently issued but are approved by the Workplace Manager in consultation with the Facility Manager and the Division HSE Manager prior to release.

In undertaking any revision of the WRMP at the workplace level:

The date of the revision and new revision issue are listed in the table below including reference to the page or appendix where the change occurs, or the page numbers throughout the WRMP where multiple changes are required.

Major changes to the WRMP are managed by issuing a new WRMP, i.e. by changing the facility WRMP revision number on the front page, and the WRMP footer issue date which forms part of the document identifier throughout the Plan. The superseded WRMP is archived.

Superseded documents/revisions are removed from circulation but retained for archive purposes.

| Date | Revision Number | Summary of WRMP amendments | Page / appendix number(s) | Approved by |
| --- | --- | --- | --- | --- |
| 7/10/2021 | 1 | Updated org chart and building assignments | Page 18/Appendix 1 | VC/RA/BW |
| 7/10/2021 | 2 | Updated Workplace Document Matrix | Page 21-24/Appendix 4 | VC/RA/BW |
| 7/10/2021 | 3 | Updated Workplace Description | Page 25-26/Appendix 5 | VC/RA/BW |
| 10/11/2022 | 4 | Updated Workplace Description, Frequency of FCR audits and ROR |  | JJ/BW/RA/VC |
| 14/06/2023 | 5 | Updated Appendix 1 – Organizational Chart |  | JJ/BW/RA/VC |
| 08/09/2023 | 6 | Updated Appendix 1 – Organizational Chart / Site Allocations |  | JJ/BW/RA/VC |
| 14/06/24 | 7 | Updated Appendix 1 – Organizational Chart / Site Allocations |  | VC |
| 17/07/24 | 8 | Updated Appendix 1 – Organizational Chart / Site Allocations |  | JV |

Introduction

Workplace Risk Management Plan

This WRMP identifies and details the key areas affecting Health Safety Environment (HSE) for all industrial assets. The WRMP is a blueprint for implementing the requirements of the Mirvac HSEMS at the workplace level and includes a Risk & Opportunity Register (ROR) which identifies controls for significant Health Safety Environment (HSE) risks/aspects. Implementation of the WRMP is dependent on the collaborative efforts of the onsite personnel and site HSE representatives.

This WRMP ceases to be a valid HSE document for areas where a Principal Contractor has been appointed. The nominated Principal Contractor is to develop and implement an individual plan for the area where works are to be undertaken.

The Workplace and Facility Manager are responsible for overseeing the day-to-day implementation of this WRMP and collation of related documentation and contractual information.

HSE Policy

The Mirvac Health Safety Environment Policy and associated Policies apply to this workplace and are available on the HSE SharePoint and are to be displayed at prominent locations at each workplace.

HSE Leadership and Commitment

Mirvac employees are required to demonstrate active commitment to Mirvac’s HSE vision and are expected to personally model the four Work safe Stay safe behaviours:

- Always Put Safety First

- Safety is Everyone’s Responsibility

- Cut Risks Not Corners

- Lead by Example

Workplace HSE Planning

Workplace Implementation Health, Safety & Environment (HSE) Hazards, Aspects/Impacts

- Hazard/aspect identification, risk assessment and risk control processes at Industrial workplaces are conducted in accordance with the principles of risk management outlined in the Mirvac HSEMS Element 3 - Risk Management.

The significant HSE hazards, aspects/impacts and associated controls for this workplace are listed in the workplace Risk & Opportunity Register (ROR) that is maintained by the Workplace Manager in consultation with O&I HSE.

- The Risk & Opportunity Register is prepared using the Office or Industrial ROR template, the jurisdictional legislation, codes of practice and relevant standards, and the Mirvac Minimum Mandatory Requirements (MMRs). All documents are available on the Mirvac HSE SharePoint Site and O&I specific HSE documents are available on the O&I HSE SharePoint Site.

The ROR is reviewed:

- in accordance to the complexity and specific operations of the workplace;

- when changes to legislation, Codes of Practice, Standards or to the Mirvac HSEMS or O&I Manual occur;

- following an incident investigation;

- when required in audit report findings;

- during any HSE meetings reviewing activities; and

- at least every 12 months by the Workplace Manager and Facility Manager, or nominated representative, to ensure currency and accuracy.

Safety in Design (DOOR)

A DOOR is to be undertaken to identify hazards and risks that can be resolved through design solutions, as well as to identify design opportunities. The Designing Out Our Risk (DOOR) Procedure is underpinned by a recognition that good design work gives the highest level of protection, so far is reasonably practicable.

This procedure applies to the internal or external design, construction, end use, maintenance and demolition of buildings and structures for Mirvac.

Development projects must complete all seven design phases. CAPEX projects must complete phase 1 Project Brief, at a minimum and through consultation with the HSE Manager, determine additional phase requirements dependent on the scope of the project.

Legal & Other Requirements

HSE Legal and other requirements that apply to this workplace are listed in the ROR. Access to WHS Acts & Regulations, Standards and Codes of Practice for workplace personnel are provided via the Mirvac HSE SharePoint Site.

The O&I HSE Manager is responsible for communicating changes to WHS Acts & Regulations, Standards and Codes of Practice to the workplace, and to oversee the update to relevant processes and documents as required.

HSE Objectives, Targets & Initiatives

There are documented HSE Objectives and Targets for this workplace, referenced in table 4.3.2.  Progress against the HSE objectives and targets is reported monthly to the HSES Committee.

KPIs are set annually (starting July each year) by Group HSE in collaboration with Business Units. Appendix 8 KPIs are set annually in consultation with the O&I Leadership Team and HSE, following a review of HSE performance.

Achievement of O&I Division Objectives and Targets

Based on the O&I Division Objectives and Targets outlined in Appendix 8, HSE performance measurement is monitored by:

- periodic auditing of the WRMP and its implementation;

- evaluation of Service Provider performance by monitoring workplace activities, JSEAs and SWMSs or equivalent through observation, monitoring and regular inspection by Mirvac personnel, services providers and the workplace HSE Committee/Representative [where applicable];

- incident reporting, investigation and effective communication and evaluation of implemented corrective actions;

- recording and reporting of HSE objectives against targets which are reviewed monthly; and

- effective injury management, return to work and environment protection.

Personnel nominated to undertake the implementation and observation of the O&I Division Objectives and Targets for this workplace are listed below in table 4.3.2.

Table 4.3.2 O&I Division Objectives & Targets – Nominated Personnel

| Nominated Role | Objectives & Targets Task | Frequency |
| --- | --- | --- |
| - Facility Manager - Senior Facility Manager | Task Observation FCR37 Service Provider Safety The following services are to be audited once minimum in a 12-month period: Window Cleaning, Cooling Tower Maintenance, Fire Services, Mechanical Services, Lift Services, Electrical, Security and Cleaning. FCR36 Asset Inspection FCR01 Compliance | FCR36 / FCR37 Quarterly FCR01 – Annually |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | HSE Awareness / Consultation Raise awareness of important HSE issues amongst employees and service providers through HSE Alerts or other HSE communications to employees and service providers. | Monthly |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | Community Contact (HSE related matters) Promote timely response to community-based contacts, including residents, industry, commercial and the general public. | 48 Hours |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | Waste - Divert waste from landfill. - Promote material recycling and reuse to reduce waste to landfill. | 80% waste diversion rate by FY23 |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | Carbon Promote reduction in carbon emissions from FY18 baseline. | 5% reduction in carbon intensity from FY18 baseline by FY21 |
| - Facility Manager - Senior Facility Manager | Water Promote reduction in water use from FY18 baseline. | 5% reduction in water intensity from FY18 baseline by FY23 |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | Training - Induction training for all new starters, transfers and relocations, including emergency response. - ‘Licence to Operate’ training for all employees | 100% |
| - Facility Manager - Senior Facility Manager - Asset Manager / Property Manager | Lag Indicators - LTI - TRIFR - Environmental - CIFR | < 3 < 8.35 < 2 <1.75 |

Workplace Implementation

Workplace Organisational Structure

An organisational chart is prepared to outline HSE responsibilities and reporting lines. The organisational chart for this workplace is outlined in Appendix 1.

On commencement at the workplace, each person employed in a role listed in the organisational chart is assigned their respective HSE Roles & Responsibility Statement to review and acknowledge via LearnConnect.

Service providers (contractors and suppliers) are managed in accordance with the O&I Service Provider Management Procedure.

Training, Awareness & Competency

Details on training requirements can be found in the Mirvac HSEMS Element 8: Competency & Capability and the Appendix 7.

The minimum training requirements of Office & Industrial employees are:

- Mirvac Group Licence to Operate (LTO – LearnConnect);

- WRMP for the workplace (workplace-based training);

- WHS Risk Management for personnel in supervisory positions;

- Mirvac General Induction and Site-Specific Induction(s) (Contractor Management System);

- Work Health and Safety General Construction Induction (White Card) - this applies to all Facility Management staff and Asset Management staff that may be involved with fit-outs and refurbishments (Development works).

Additional HSE training needs are identified in the HSE Training Matrix. Workplace specific HSE training, competencies and licenses/certificates (e.g. confined space entry, asbestos removal, plant licences, or other) for Mirvac O&I workplace personnel (covering all training aspects) are identified in the Workplace Training Needs Analysis.

Where there is a requirement to undertake mandated ‘refresher’ training courses (e.g. first aid) then the dates of the programmed course must be entered in LearnConnect. Where the business unit or workplace has a requirement for other training to be undertaken at regular intervals, this can be detailed in the same way.

Appropriate certificates of competency and other qualifications for O&I workplace personnel and service providers (for all medium to high risk works i.e. preventative maintenance contractors) are provided and attached to the specific JSEA for the works to be performed and kept on file.

The minimum requirements for Service Providers (contractors and suppliers) at this workplace is:

- Work Health and Safety General Construction Induction (White Card) – applicable to all works defined as building or construction, this includes maintenance);

- Mirvac General Induction and Site-Specific Induction(s) (Contractor Management System);

- Relevant certificates of competency and other work activity related training, e.g. confined space entry and asbestos removal

Visitor Induction and Access

All visitors must sign in when attending site. Service Provider personnel who are not conducting works but may be providing a quote, consultation, checking a utility meter etc. must sign in and out via the CMS terminal and are to be escorted by a Mirvac representative at all times.

People visiting Mirvac personnel in their office (e.g. other Mirvac employees) are required to sign into a paper-based log book to ensure an accurate entry record is maintained for evacuation purposes.

Site Induction

All Mirvac employees who are not considered visitors to the workplace are provided induction information to familiarise them with key site safety requirements (e.g. emergency procedures, emergency contacts and first aid arrangements) and amenities.  Site induction is issued via the Contractor Management System with records maintained online through the portal.

Service Provider Induction

Record of Service Provider induction is maintained via the Contractor Management System (CMS) and CMS Terminal based on site. Service Providers undertaking work onsite must always log onto the CMS upon arrival to site. The CMS will determine if the induction (including all insurances, HSE information) is valid for that Service Provider and the particular site.

Following this process provides evidence that the service provider agrees they have read, been given the opportunity to provide feedback and agrees to comply with HSE requirements prior to works being undertaken. Record of induction are maintained via the CMS in accordance with the Privacy Act.

As part of the on-boarding process for all Service Providers the following is to occur:

- Service Company registration requirements documented in the Service Provider Authority for Works to Proceed Part A;

- Service Provider representative sent key documents, including:

  - WRMP;

  - R&O Register;

  - Mirvac Minimum Requirements (and associated forms, permits etc.);

  - Emergency Response Plan;

  - Mirvac JSEA / SWMS template;

  - Hazardous Chemicals or Substances Risk Assessment Template; and

- The Service Provider is required to provide the following:

  - HSE Management Plan;

  - SWMS /JSEAs relevant to the works;

  - Plant & equipment licensing, registration and maintenance records and plant specific risk assessments;

  - Safety Data Sheets;

  - Insurance information;

  - Hazardous chemicals/substances risk assessments; and

  - any relevant registers (PPE, Lifting gear etc.).

Service Providers are inducted through the online Contractor Management System portal (Rapid Induct) using a workflow consistent with the two forms: Service Provider Authority for Works to Proceed Part A  and Service Provider Authority for Works to Proceed Part B.

HSE Consultation, Communication and Reporting

HSE Consultation, Co-operation and Co-ordination (CCC)

HSE consultation arrangements are identified in Element 7 of the Mirvac HSE Management System, the Consultation, Co-Operation & Co-ordination Procedure and the Consultation Statement.

Consultation and issue resolution is managed in accordance with the Consultation, Co-Operation & Co-ordination Procedure. Meetings discussing these and other HSE related issues are recorded using the Mirvac Meeting Minutes and Tool Box Talk Record. Other regular communication on HSE matters at this workplace is issued electronically (e.g. email, intranet) via the building management team, HSE Consultation Group and Group HSE on a needs basis.

Service Providers and other persons conducting a business or undertaking at workplaces are required to consult with their employees on issues that may impact HSE and a record, e.g. a Tool Box Talk forwarded to the Workplace Manager or nominated representative.

Consultation includes the requirement for all workers including employees and Service Providers (contractors and suppliers) to report hazards and incidents.

Access to HSE information

To ensure all personnel have the opportunity to view, discuss and take note of HSE information, the information and HSE documents are available on SharePoint.  HSE information which is printed and displayed at each workplace is limited to the following:

Mirvac Health Safety and Environment Policy;

Latest HSE Alerts;

Crisis Incident Management Plan QRG

Document and Data Control

Documents become ‘uncontrolled’ from the date of retrieval, downloading or printing from the HSE SharePoint.  Document additions, changes or deletions are managed by Group and O&I HSE via SharePoint.

All HSE documentation specific to the workplace is maintained via the Asset Folder on the O&I HSE SharePoint site.

Hazard/Aspect Identification, Risk Assessment & Risk Control

General risk and hazard management at the workplace

All work activities undertaken by Mirvac personnel and Service Providers at this workplace are carried out in accordance with Mirvac policies, procedures and guidelines.

Where a JSEA is required, it is prepared using the JSEA form ensuring inclusion of any workplace related hazards/aspects, and their respective critical controls which have been identified in the ROR.

Reporting hazards and issues

All Mirvac personnel and Service Providers are encouraged through the site induction and HSE e-learning training modules to identify and control hazards and aspects on a “see it, sort it, report it”’ basis where practicable to do so, and to report hazards and incidents in accordance with the Incident Management Procedure.

Faulty or defective plant or equipment

Where faulty or defective plant and equipment is identified, which has the potential to impact on HSE, it shall be isolated from use in accordance with the Isolation Lock-out Tag-out MMR.

Engaging Service Providers

Mirvac personnel engaging service providers to undertake work at the workplace are required to meet the MMRs outlined in the Mirvac HSEMS and the requirements outlined within the Office & Industrial Service Provider Management Procedure.

O&I personnel responsible for managing service providers ensure that the service provider complies with the requirements contained within the Mirvac Group Service Provider Permit for Work to Proceed (Part A and Part B). Monitoring of service providers HSE performance is achieved using the Functional Compliance Report 37 (FCR37).

Service Providers selected to undertake work are required to register via the Contractor Management System online portal and provide the following documentation prior to completing inductions and commencing works:

- Safety Management Plan (outlines the management, supervision and control measures to be implemented by the service provider for all health, safety and environmetal risks associated with the works);

- SWMS / JSEA;

- Public Liability Insurance Certificate of Currency;

- Work Cover Certificate of Currency for the relevant state(s);

- Professional Indemnity Insurance (Consultants only);

- Personal Injury Insurance (Sole Traders only).

Workplace HSE Instruction (non-conformity)

An HSE Instruction may be issued where a risk to the health and safety of an individual(s) or impact to the environment or property is identified according to the following:

- classified as significant (greater than medium) through the risk ranking process; and

- identified as ‘uncontrolled’ (i.e. the control measure is grossly ineffective, non-existent or ignored) at a workplace; or

- at imminent risk of serious injury or material harm to the environment;

- a matter involving HSE documentation or contractual issues that require immediate resolution.

Client, Public and Other Entity Interfaces

Contact with the community is a means by which Mirvac can positively engage stakeholders and potential clients or customers by demonstrating sound management practices in resolving any concerns raised in a timely manner. Community members that interface with Mirvac business undertakings present the opportunity for feedback and a positive response by Mirvac. Any response shall commensurate with Mirvac’s high regard and sensitivity to social amenity and the lifestyle impacts of its business undertakings. Positive and negative interaction is recorded as a Community Contact via the Mirvac Incident Report system (iSystain).

Asset and property holding checklist is completed at a minimum of three monthly intervals to manage and control any risks associated with the interface with our clients, the public and other entities

Emergency Response and Evacuation

Unless it is the responsibility of the tenant, the Workplace Manager or a nominated representative, in conjunction with other appointed Mirvac personnel develops emergency response procedures as required by the Element 5 of the Mirvac HSE Management System, the Emergency Preparedness and Response MMR and the Emergency Response Plan (ERP).

Measuring and Evaluating

Monitoring of Workplace

The workplace is inspected according to the HSE Inspection Schedule detailed in table 6.1.1.

The Functional Compliance Report 37 (FCR37) is used to monitor compliance of service providers undertaking high risk work activities. The following high-risk services must be audited at least once within a 12 month period: Window Cleaning, Cooling Towers, Fire Services, Mechanical Services, Lift Services, Cleaning, Security and Electrical.

Workplace hazards are reported to the Workplace and/or Facility Manager, and are recorded by Mirvac personnel using the Incident Reporting System (iSystain).

Table 6.1.1 HSE Inspection Schedule

| Workplace Inspection Schedule |  |  |  |  |
| --- | --- | --- | --- | --- |
| Task | Type of Inspection | Inspection By | Frequency | Record |
| Specific Work Area | Hazard Inspection. | All | Daily | Report any significant issues via the online HSE reporting system iSystain |
| All general work areas including plant & equipment | Hazard Inspection, general inspection/walk-around | Workplace or Facility Manager | Daily | Report via iSystain Signage Plant logbooks |
| General Work Area | Health Safety Environment Inspection. | HSE Committee where formed or nominated HSE person | Every 2 months | HSE Committee Minutes |
| Functional Compliance Reports |  |  |  |  |
| Task | Type of Inspection | Inspection By | Frequency | Record |
| Functional Compliance Report 01 (FCR01) | Verification of critical items for operational management of O&I managed locations focusing on administration compliance | O&I FM staff | Annually (minimum) | FCR01 (Rapid Service Alert) |
| Functional Compliance report 36 (FCR36) | Asset Inspection report | O&I FM staff | Quarterly | FCR36 (Rapid Service Alert) |
| Functional Compliance report 37 (FCR37) | Contractor Audit (task observation) The following services are to be audited once minimum in a 12-month period: - Window Cleaning (39 Herbert St only) - Cooling Tower Maintenance (39 Herbert St only) - Fire Services - Mechanical Services - Lift Services - Electrical - Cleaning. | O&I FM staff | Quarterly | FCR37 (Rapid Service Alert) |

Monitoring of Plant, Equipment & Processes

The compliance of plant, equipment and processes at this workplace is assessed in accordance with Appendix 6 – Plant, Equipment & Processes Inspection & Testing Schedule.

Inspection of all plant and equipment used in construction or maintenance processes is undertaken by a competent person (e.g. Plant Owner, Plant Mechanic or Plant Engineer) as per the manufacturer’s specification, prior to use at a Mirvac workplace. On arrival at a workplace, mobile plant documentation is inspected using the Plant Arrival Checklist, as per the requirements outlined in the Plant, Equipment and Tools MMR.

The person with management or control of a lift at a workplace (including a person with management or control of maintenance of a lift) must ensure prevention of falls, falling objects, safe access and signage stating maximum loading.

In some instances, plant and equipment may require further inspection and certification by qualified personnel where the configuration can be altered (i.e. cranes, hoists, lifts, escalators, building maintenance units, travelators or other).

Competent persons, being either the service provider bringing the plant on-site, the operator or the service provider deemed to be the principal contractor, undertake and document physical inspections of plant and equipment prior to use and on a daily basis. All persons operating plan and equipment must be appropriately trained, experienced and where required, certified by the regulatory authority.

Service providers are required to maintain inspection and test records and a Plant Register for all their plant and equipment which must be verified by an O&I team member at the workplace. Maintenance of hired plant and equipment is the responsibility of the supplier/hire company. If a supplier/hire company fails to maintain its plant and equipment and workplace personnel are aware that the equipment requires maintenance/repair, or has the potential to create risks to health safety and environment, the plant and equipment is quarantined in accordance with the Isolation Lockout Tagout MMR and its operation ceased. Personnel must inform their supervisor, who in turn will ensure the supplier/hire company complies with its maintenance requirements.

Plant and equipment provided to this workplace must be supplied with the required items not limited to:

- A plant and equipment register;

- A risk assessment or JSEA for the plant and equipment provided;

- Evidence of adequate instruction and training in the use of the plant and equipment;

- A JSEA or equivalent related to the safe operation of the plant and equipment; and

- Records detailing the currency of ongoing maintenance, testing or calibration.

Faulty or defective plant and equipment identified which has the potential to impact health and safety or the environment is tagged out in accordance with the Isolation Lockout Tagout MMR.

Non-Conformities and Corrective/Preventative Action

Non-conformities and corrective/preventative actions identified at this workplace are tracked to resolution by the Workplace Manager or a nominated representative, which includes a record of corrective actions and evaluation of their effectiveness. This includes HSE action items from reviews, audits, workplace inspections, hazard/aspect notification reports, opportunities for improvement and incidents. These action items are corrected in a timely manner to prevent recurrence.

HSEMS Internal Audits

Internal audits are carried out by O&I HSE in accordance with the methodology outlined in ISO 19011 and the Audit Procedure. Audits, as a minimum, can only be conducted by a person with Internal Auditor Training (SAI Global 2-day equivalent) and hold a minimum of Certificate IV in Work Health Safety.

Audits of the workplace are conducted annually in line with the Audit Schedule available on the O&I HSE SharePoint Site. Progress against the schedule of audits is tracked through the Monthly KPI reporting via iSystain.

Internal O&I HSE audits are recorded using the Audit Tool which contains the Audit Findings Action Plan. This is used by the auditor and workplace team to track and manage the close out and evaluation of action items. The timeframe for rectification of issues raised is any audit is 30 days, unless determined otherwise by the O&I HSE Manager.

The standard O&I Audit Process is as follows:

| Action | Stakeholders | Timeframe | Notification Inclusions |
| --- | --- | --- | --- |
| Audit Placeholder is sent as Calendar Invite by HSE to all Stakeholders | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager - Portfolio Manager (Optional) - Divisional Facility Manager (Optional) | Sent two months prior to audit month | - Meeting Title to include *PLACEHOLDER* - HSE Audit Tool - Required attendees - Any specific conditions of the audit (e.g. desktop only) |
| Audit Placeholder is updated to Confirmation by HSE and resent to all Stakeholders | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager - Portfolio Manager (Optional) - Divisional Facility Manager (Optional) | Sent one month prior to audit month | - Meeting Title to be updated to *CONFIRMED* |
| Preliminary audit request is sent to required stakeholders with request for return two weeks prior to audit date | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager | Sent one month prior to audit month Reply requested no later than two weeks prior to audit date. If not provided, all items will be reviewed during audit time. | - HSE Audit Tool with relevant questions highlighted - Request for the tool to be returned with file locations two weeks prior to audit date |
| Audit completed on date by HSE with Stakeholders | - HSE Auditor - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager - Portfolio Manager (Optional) - Divisional Facility Manager (Optional) | N/A | - Opening Meeting (provide overview of audit process and timeline) - Closing Meeting (provide summary of any Major NCs and next steps in process) |
| Request for Information (RFI) sent to required stakeholders for any items that were unavailable at time of audit | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager | Sent on audit date RFI reply to be returned within four days of audit date | - Items that were unavailable at time of audit - Latest response date |
| Draft Audit Findings and Action Plan sent to required stakeholders. All comments / concerns to be raised within two days. | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager | Sent within six days of audit date Response required within two days of draft distribution. | - Draft Audit Report - Draft Action Plan - Latest response date |
| Final Audit Findings and Action Plan sent to all stakeholders | - Facility Manager(s) - Senior Facility Manager - Property Manager - Asset Manager - Portfolio Manager (Optional) - Divisional Facility Manager (Optional) - National HSE Manager | Within ten days from date of audit. | - Final Audit Report - Final Action Plan - When site is to provide updates to HSE - What is required to close out an action |

Incidents at the Workplace (Including Critical Incidents)

Workplace HSE incidents are managed in accordance with Element 5 of the Mirvac HSE Management System.

Communication and management of all Critical Incidents (i.e. those incidents or near misses which result in, or have the potential to result in, a fatality or serious permanent disabling injury) must be undertaken in accordance with the Mirvac Crisis and Incident Management Plan and the Mirvac Crisis and Incident Management Plan Quick Reference.

All HSE incidents must be reported immediately and no later than 24 hours after the incident occurrence.  Incidents are recorded using the online HSE reporting database, iSystain. Exceptions include incidents involving emergency services and/or the regulatory authority(s), which require immediate notification to the Divisional HSE Manager. In these cases, the Divisional HSE Manager (or nominated representative) escalates the incident to Business and Group management in accordance with the Mirvac Crisis and Incident Management Plan.

Notices issued to this workplace by any Regulatory Authority (e.g. WorkSafe, Environment Protection Agency or Local Government) are reported immediately to Group HSE and a copy of the Notice provided with seven days.

Injury management & return to work

Where an injury results in time lost from work or an inability to complete normal duties, these injuries are reported to the Divisional HSE Manager immediately (on becoming aware of the injury) and no later than 24 hours after its occurrence, to enable the provision of early injury management support in accordance with the Injury Management and Return to Work Manual.

Unacceptable Behaviours

Unacceptable HSE performance by employees or service providers is managed in accordance with Elements 8 and 10 of the Mirvac HSE Management System.

Counselling & Employee Assistance

The Mirvac Employee Assistance Program (EAP) is a complimentary and confidential counselling service available to all Mirvac employees and their immediate family. More detailed information can be found via the link on the Mirvac Intranet ‘Home Page’ or on the Mirvac Employee Assistance Program hub page.

Non-conformities and HSEMS Improvements

Workplace non-conformities or improvements to the HSEMS are tracked to resolution by the Workplace Manager or HSE Manager, which includes a record of corrective actions and evaluation of the effectiveness. This includes HSE action items from reviews, audits, workplace inspections, hazard/aspect notification reports, opportunities for improvement and incidents. The actions items are corrected in a timely manner to prevent recurrence.

Where the risk associated with an identified non-conformity is rated medium, high or extreme, a review of the Risk & Opportunity Register is undertaken at a workplace level to determine:

- The content of the Register, i.e. is the hazard/risk or aspect/impact related to the non-conformity included in the register; and

- The effectiveness of critical control measures, i.e. short term and long-term duration; and

- The effectiveness of monitoring activities related to each critical hazard/risk or aspect/impact.

HSE Records

Key HSE records for this workplace are listed in Appendix 4 and are maintained by the workplace and O&I HSE via the Asset folder on the O&I HSE SharePoint site.

Management Review

O&I HSE conduct and annual review of the WRMP at the end of each financial year. The review will be documented in meeting minutes, using section 9.3 of AS/NZS ISO 45001:2018. The review is submitted to the General Manager Technical Services by the end of Q1 of the following financial year.

- Appendix 1 – Workplace organisation chart

- Appendix 2 – Important HSE Internet Addresses

| STATE/REGION | AUTHORITY | INTERNET ADDRESS |
| --- | --- | --- |
| National | Aust. Safety & Compensation Council Federal Safety Commissioner | www.safeworkaustralia.gov.au www.fsc.gov.au |
| ACT | WorkSafe ACT Work Safety Commissioner Environmental ACT | www.worksafety.act.gov.au www.enviroment.act.gov.au |
| NSW | WorkCover Environment & Heritage | www.workcover.nsw.gov.au www.environment.nsw.gov.au |
| New Zealand | Department of Labour Ministry for the Environment | www.osh.govt.nz www.mfe.govt.nz |
| QLD | Worksafe Dept. of Environmental & Heritage Protection | www.worksafe.qld.gov.au www.ehp.qld.gov.au |
| SA | WorkCover Environment Protection Authority | www.workcover.com www.epa.sa.gov.au |
| Tasmania | WorkCover Environment Protection Authority | www.workcover.tas.gov.au www.epa.tas.gov.au |
| WA | Worksafe Environment Protection Authority | www.safetyline.wa.gov.au www.epa.wa.gov.au |
| VIC | Victorian WorkCover Authority Environment Protection Authority Energy Safe Victoria | www.vwa.vic.gov.au www.epa.vic.gov.au www.esv.vic.gov.au |

Alternative links are available through the Group HSE SharePoint site.

- Appendix 3 – HSE Documents

All current Mirvac Group documents including:

- HSEMS;

- MMRs;

- Procedures;

- Guidelines; and

- Forms and Templates.

are available through the Group HSE SharePoint Site.

All Office & Industrial specific documents including:

- Workplace Risk Management Plan (WRMP);

- Procedures;

- Guidelines; and

- Forms and templates.

are available through the O&I HSE SharePoint Site.

NOTE: It is important to always use the documents direct from the Intranet to ensure the latest revision is in use.

- Appendix 4 – Workplace Document Matrix

| Record | Location | By Whom | Retention Period (Years) |
| --- | --- | --- | --- |
| Risk in Design Review (DOOR) Minutes | [Insert location] | [Insert ] | 40 |
| Workplace Risk & Opportunity Register | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\HSE Documentation all Industrial | FMs | 15 |
| HSE Target or Management Plans for Workplace | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\HSE Documentation all Industrial | FMs | 15 |
| Workplace Roles and Responsibilities (signed) | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\HSE Documentation all Industrial | FMs | 15 |
| Workplace Training Needs Analysis | My Learning Portal | FM’s | 20 |
| Workplace Induction Register | Rapid Induct | FMs | 15 |
| Workplace Visitor Register | Rapid Access | FMs | 15 |
| Workplace HSE Consultation Statement | H:\Investments\Assets\Office & Industrial\NSW\Properties\Industrial\HSE Documentation all Industrial | FMs | 15 |
| HSE Alerts | Rapid & iSystain | FMs | 15 |
| Toolbox Talk Records | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\HSE Documentation all Industrial\ALL Buildings - Contractor Meeting Minutes | FMs | 20 |
| JSEA’s / SWMS’s | Rapid Induct | HSE Team | 15 |
| Facility Emergency Response Plan | [Insert physical location/filepath] AL2001: H:\Investments\Assets\Office & Industrial\NSW\Properties\39 Britton Street, Smithfield\Operations\Contracts & Services\Emergency Procedures - To be updated with new tenant (Tyres 4U) AL2002: H:\Investments\Assets\Office & Industrial\NSW\Properties\8 Brabham Drive, Huntingwood\Operations\Contracts & Services\Emergency Procedures\Reports & Minutes AL2003: \\mvsyd\dept\Investments\Assets\Office & Industrial\NSW\Properties\34-38 Anzac Ave, Smeaton Grange\Operations\Contracts & Services\Emergency Procedures\Reports & Minutes\Emerg Plan & Procedures_34 Anzac Ave Parts 1 to 4 AL2004: AL2005: H:\Investments\Assets\Office & Industrial\NSW\Properties\39 Herbert Street, St Leonards\Operations\Contracts & Services\Emergency Procedures HX2001: HX2002: H:\Investments\Assets\Office & Industrial\NSW\Properties\Hoxton Park (1 Aviation Road)\Hoxton Park Big W - HX2002\Operations\Contracts & Services\Emergency Procedures\ERP MP2013: MP2016: H:\Investments\Assets\Office & Industrial\NSW\Properties\1-47 Percival Road, Smithfield\Operations\Contracts & Services\Emergency Procedures MP2023: MP2024: MP2025: MP2026: PW2001: RH3001: VR2001: H:\Investments\Assets\Office & Industrial\NSW\Properties\274 Victoria Road, Rydalmere\Operations\Contracts & Services\Emergency Procedures\Reports & Minutes WA2001: H:\Investments\Assets\Office & Industrial\NSW\Properties\34 Waterloo Road, Macquarie Park\Operations\Contracts & Services\Emergency Procedures WG2001: H:\Investments\Assets\Office & Industrial\NSW\Properties\60 Wallgrove Road Building 1\Operations\Contracts & Services\Emergency Procedures WG2002: H:\Investments\Assets\Office & Industrial\NSW\Properties\60 Wallgrove Road Building 2\Operations\Contracts & Services\Emergency Procedures WG2003: H:\Investments\Assets\Office & Industrial\NSW\Properties\60 Wallgrove Road Building 3\Operations\Contracts & Services\Emergency Procedures WG2004: H:\Investments\Assets\Office & Industrial\NSW\Properties\60 Wallgrove Road Building 4\Operations\Contracts & Services\Emergency Procedures WG2005: H:\Investments\Assets\Office & Industrial\NSW\Properties\60 Wallgrove Road Building 5\Operations\Contracts & Services\Emergency Procedures\Emergency Management Plan | [Insert ]FMs | 15 |
| HSE Inspections | FCR01 & FCR 36 in Rapid | FMs | 15 |
| Hazard Notifications | Rapid & iSystain | HSE Team | 15 |
| Workplace HSE Instructions | Email notifications by HSE Team | HSE Team | 15 |
| Workplace Incident Investigation Reports | iSystain | FMs | 15 |
| Permits (e.g. mobile crane, confined spaces, hot work, excavation, isolation etc.) | Individual site folders in H Drive | FMs | 15 |
| Plant and Equipment Register | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\Yardi Upload Spreadsheets | FMs | 15 |
| Plant Pre-start Inspections / Plant Logbooks | Individual site folders in H Drive | FMs | 15 |
| On-Site Plant Checklist | N/A | N/A | 15 |
| Certificate of Competencies or Qualifications for Individuals at Workplace | FCR 37 in Rapid | FM | 20 |
| HSE Training Records | Mirvac Learning |  | 20 |
| Electrical Equipment Inspection & Testing Register | FCR 37 in Rapid | FMs | 15 |
| Workplace injury case files for employees | iSystain | FMs | 40 |
| Workplace Employee Health Records associated with exposure to carcinogenic substance | iSystain | FMs | 30 |
| Minutes of Meetings [if applicable] | H:\Investments\Assets\Office & Industrial\Industrial\Industrial\HSE Documentation all Industrial\ALL Buildings - Contractor Meeting Minutes | FMs | 15 |
| Workplace Corrective and Preventative Action Plans | Rapid & iSystain | FMs | 15 |
| Environmental Monitoring Test Results (e.g., water quality, dust, environmental noise, etc.) | Individual site folders in Sharepoint | FMs | 40 |
| WHS Monitoring Reports (e.g., noise, dust, etc.) | Individual site folders in Sharepoint | FMs | 40 |
| Products and Hazardous Substances Register (includes Dangerous Goods) | Individual site folders in H Drive | FMs | 40 |
| Hazardous Materials Reports | Individual site folders in H Drive | FMs | 40 |
| Indoor Air quality report | Individual site folders in H Drive | FMs | 40 |
| Thermography reports | Individual site folders in H Drive | FMs | 15 |
| Slip test reports | Individual site folders in H Drive | FMs | 15 |
| MSDS for products and substances at the Workplace | Filed onsite | FMs | 40 |
| Risk Assessments e.g., hazardous substances, manual handling, etc.) | Individual site folders in H Drive | FMs | 40 |
| Workplace PPE Supply Register | N/A | [Insert ] | 15 |
| Anti-Harassment Case Notes | [Insert location] | [Insert ] | 15 |
| HSE Audit Reports | Individual FM Folders | FMs | 15 |
| HSE Review Reports | Individual FM Folders | FMs | 15 |
| HSE and Legal Correspondence | [Insert location] | [Insert ] | 20 |
| Grants, submissions and awards | [Insert location] | [Insert ] | 7 |
| Essential Services | Individual site folders in Sharepoint | [Insert ] | 15 |

- Appendix 5 – Workplace Description

| Workplace and address: | Nexus - 41 Lyn Parade, Prestons – Building 1 |
| --- | --- |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | Nexus – 43-47 Lyn Parade, Prestons – Building 2 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | Nexus – 43-47 Lyn Parade, Prestons – Building 3 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | Nexus – 43-47 Lyn Parade, Prestons – Building 4 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | Nexus – 43-47 Lyn Parade, Prestons – Building 5 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | 34-38 Anzac Ave, Smeaton Grange |
| Owner: | Mirvac Property Trust No. 7 |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | 8 Brabham Dr, Huntingwood |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection |
| Workplace and address: | 39 Britton St, Smithfield |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection |
| Workplace and address: | 1-47 Percival Rd, Smithfield – Building 1-4 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection (except Building 2), Mechanical Services (Building 1 Only) |
| Workplace and address: | 1 Aviation Rd & 40 Blackbird Close, Len Waters Estate – Hoxton Park |
| Owner: | Mirvac Property Trust and JP Morgan |
| Major Plant: | Triple Net Lease – No Major Plant Maintained by Mirvac for Big W, Fire Protection & Mechanical for DB Schenker |
| Workplace and address: | 274 Victoria Rd, Rydalmere |
| Owner: | Mirvac Property Trust |
| Major Plant: | Triple Net Lease – No Major Plant Maintained by Mirvac |
| Workplace and address: | 60 Wallgrove Rd, Eastern Creek – Building 1 |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | 36 Gow St, Padstow |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | 39 Herbert Street St Leonards |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services |
| Workplace and address: | 161 Manchester Rd, Auburn |
| Owner: | Mirvac Property Trust |
| Major Plant: | Fire Protection, Mechanical Services, Stormwater retention and underground pipe |

- Appendix 6 – Plant & Equipment Inspection and Testing Schedule

| Item | Ticket or Cert. of Competency Required | Inspection by | Australian Standard/ Code | Inspection/Records/ Other Required |
| --- | --- | --- | --- | --- |
| Air Quality monitoring | Yes | Competent Person | ASHRAE, Slandered 62 AS1668.2:2012 | - Yearly Testing |
| Building Maintenance Units ® | Training/Instruction | Competent Person | AS1418.13:1996 AS2550.13:1997 | - Pre-operational prior to use - Routine servicing - Annually - 10 Yearly |
| Confined Space and monitoring equipment | Yes | Competent Person | AS61779.1:2005 AS2865:2009 | - Entry permit & register retained for 15 years - Yearly Report - Risk assessment retained for 40 years - Testing instruments should be calibrated yearly |
| Cooling Towers ® | Training/Instruction | Competent Person | AS3666.1,2&3:2011 | - Monthly water testing - Cleaned quarterly |
| Explosive Power Tool | Yes | Competent Person | AS1873.1:2003 | - Pre-operational prior to use and cleaned at least a day after use - Dismantled and examined for defects by an authorised operator at least once in every week in which the tool is used. - Tools should be returned to the manufacturer or authorised agent for complete overhaul at least in every 12-month period. |
| Elevated work platforms ® Boom Lift | Yes, 11m or over | Competent Person | AS2550.10:2009 | - Pre-operational prior to use - 3 Monthly - After the first 5 years of service, and each and every year thereafter, periodic inspections shall be structured to ensure all critical components are inspected, and tested where appropriate, within a 5 years period. - A major inspection by the end of the 10th year. |
| Emergency Lighting | Training/Instruction | Competent Person | AS2293.2:2012 | - 6 monthly inspection and testing |
| Escalators | Training/Instruction | Competent Person | AS1735.1:2016 | - Monthly - Annual ‘Safe to Operate’ certificate - WorkCover authority registration |
| Exhaust (tenants) | Training/Instruction | Competent Person | AS3666.2:2011 | - Monthly inspection - 6 Monthly Clean |
| Fixed platforms & stairs | Yes | Competent Person | AS657:2018 | - Routine inspection. - Annual External Inspection |
| Scissor Lift | Yes | Competent Person | AS2550.10:2009 | - Pre-operational prior to use - Routine - Periodic - Enhanced periodic inspection after the first 5 years of service or continue with periodic inspections followed by major inspection by the end of the 10th year. - Critical components shall have been inspected by the end of the 10th Year |
| Electrical Switchboards and Electrical Equipment | Training/ Instruction | Licensed Electrician | AS3000:2108 AS3012:2105 | - Thermal scan on switchboard 6 monthly - Inspection of switchboard 6 monthly - Electrical Equipment as per the Australian Standard. 3 monthly, 6 monthly, Annual or 5 yearly |
| Fire Fighting Equipment | Training/Instruction | Competent Person | AS1851:2016 | - 6 Monthly - Yearly - 5 Yearly |
| Fire (Essential) Services Equipment | Training/Instruction | Competent Person (service provider) | AS1851:2016 | - Annual fire safety statement |
| Forklift Truck | Yes | Competent Person | AS2359.2:2013 | - Pre-operational prior to use - Regular inspection & maintenance as per manufacturer. - Registered with roads authority if required. |
| Hazardous Materials (Substances) | Training/Instruction | Safety Precautions | AS2714:1993 Nat Standard | - Survey competed for building every 5 Years - MSDS/SDS Register - Risk Assessment |
| Industrial Rope Access | Yes | Competent Person | AS4488.2:2017 | - Periodic inspection of anchorages - Yearly for permanently installed anchorages - Visual Inspection before use |
| Ladders | Training/Instruction | Competent Person | AS1892.5:2000 | - When purchased - Pre-operational prior to use - Annual - After mishaps, drops and impacts - Clearly labelled, e.g. safe working load & industrial use. |
| Lifts ® (passenger or goods) | Training/Instruction | Competent Person | AS1735.2:1997 | - Periodic to be carried out to the manufacturer’s recommendation. - WorkCover authority registration |
| Oxy/Acetylene/ Flashback arresters | No | Competent Person | AS4332:2016 AS4603:2016 AS4289:2016 | - Regular inspection & adequate separation and storage. - Flashback arrester 12 months test. - Hoses, gauges and other reticulation items 6 monthly. - Yearly |
| Personal Protective Equipment (PPE) | Training/ Instruction | Competent Person | AS4501.2:2006 | - Replaced as per the manufactures specifications - Register of Supplied PPE |
| Playgrounds | Training/ Instruction | Competent Person | AS4685.0:2017 | - Daily and Weekly Visual Inspection - Monthly or 3 monthly Operational Inspection - Annual Comprehensive Inspection |
| Pressure Equipment | Training/ Instruction | Competent Person | AS1200:2015 | - WorkCover authority registration - Routine Inspection |
| Residual Current Device (RCD) | Yes | Competent Person | AS 3012:2010 AS3760:2010 | - 6 Monthly Push Test - Annual Functional Test |
| Safe Work Method Statement (SWMS)/Job Safety & Environment Analysis (JSEA) | Training/Instruction | Competent Person |  | - Record of review by Competent Person - Once approved Works can Proceed. - Monitoring by principal contractor to ensure compliance where applicable. |
| Safety Harness | Training/ Instruction | Competent Person | AS1891.4:2009 AS2626:1983 | - Visual Inspection before use - 6 Monthly external check |
| Safety Lines/fall arrest devices, lanyards (installation) | Yes | Competent Person | AS1891.4:2009 AS4626:1993 | - Visual Inspection before use - 6 Monthly external check - 12 Monthly full inspection/service |
| Slip testing on floors and commercial | Yes | Competent Person | AS4663:2013 | - 6 Monthly Wet and Dry Pendulum Testing - Wet and Dry Pendulum Test after a strip and seal |
| Swinging Stage | Yes | Competent Person | AS1576.4:2013 AS4576:1995 | - Handover Certificate - Daily pre-start - Monthly inspection. |
| Switchboards (thermography) | Yes | Competent Person | AS ISO 18434.1:2014 | - Annual Report |
| Traffic Control | Yes | Competent Person | AS1742.2:2009 | - Mirvac Operated Carpark: - Independent Management Plan - FCR36 |
| Travelators ® | Yes | Competent person | AS1735.1:2016 | - Monthly Service and Inspection - 6 Monthly Service and Inspection - Annual Service and Inspection - WorkCover authority registration |
| Underground Storage tanks | License | Competent Person | AS4482.1:2005 Code of Practice | - Annual Report - Ground water monitoring as of 2011 |

KEY:

| ® | Means items of plant or equipment, which require registration of their design and/or the specific item of plant itself (currently QLD, WA, VIC, SA and NSW). Plant which requires ‘item’ registration, i.e. for the specific piece of plant which arrives at a construction project, typically includes: concrete pumps (boom type), mobile cranes > 10 tonnes SWL, tower cranes, air compressors, building maintenance units, and boom type elevated work platforms. |
| --- | --- |
| (#) | Means records required. |

Definitions:

Competent Person for any task means a person who has acquired through training, qualification or experience, or a combination of them, the knowledge and skills to carry out the task.

- Appendix 7 – Training Requirements

Training sessions are conducted regularly by the HSE team. The Training Calendar on Sharepoint can be used to book into a session. Should you require further assistance, please contact the HSE team.

- Appendix 8 – HSE&S Scorecard KPIs

| Objectives | Performance Targets |
| --- | --- |
| LEAD INDICATORS |  |
| Leadership- Demonstrated commitment to HSE Each Mirvac Group (MG) Executive Leadership Team member completes at least 2 x HSE related actions per quarter | 100% |
| Incident & Near Miss Response a) Timely reporting (reported in iSystain within 24 hours of occurrence) | <24 hrs |
| b) Timely close out of corrective and preventative measures (actions are completed as planned) | > 90% Close out |
| Training Timely provision of training to equip employees with minimum role specific HSE capabilities (All employees complete assigned HSE ‘Licence To Operate’ Training modules within 3 months of commencement) | 100% |
| Health and Wellbeing 100% of all employees (in aggregate) participate in a Mirvac sponsored H&W initiative. | 100% |
| LAG INDICATORS (All stated frequency rates are 12-month rolling averages) |  |
| CIFR Roll. Av. Critical Incident Frequency Rate | <1.75 |
| LTIFR Roll. Av. Lost Time Injury Frequency Rate | < 3 |
| TRIFR Roll. Av. Total Recordable Injury Frequency Rate | < 8.35 |
| EIFR Roll. Av. Environmental Incident Frequency Rate | < 2 |