## Risk & Opportunity Register
RISK & OPPORTUNITY REGISTER
Risk Ranking• Insert the "Untreated Risk" from the "Hazard / Aspect Worksheet" and then, according to the "Critical Controls" listed, and using the Risk Ranking matrix (Section 1) assess the "Treated Risk Ranking" appropriate to each row.
Appropriate R & O Register Hazards/Aspects and Critical Controls to be included in all workplace activity JSEAs (or equivalent)
Element | Risk | Untreated Risk | Critical Controls | Hierarchy of Controls | Critical Activities | Monitoring Activities | Treated Risk | Responsible | Legal and Other Requirements
ACCESS & EGRESS
Fire and Emergency egress | Confusion Lack of control Trips and Falls Fatalities | H17 | • At the time of design and construction the property complied with relevant AS, BCA or construction guidance• (Ordinance 70 if prior to AS). • All Emergency access and egress points must be clear of obstructions at all times. • All emergency and exit lighting is operational. • Building fitted with the following essential services: • Sprinkler system • Fire detection and alarm system • EWIS system • Risers / Hydrants • Hose reels on all floors • Extinguishers on all floors • SIT completed. • All fire systems maintained in accordance with AS1851 and PPM schedule. • Annual Fire Safety Statement provided for the building. *addition of Sprinklers and EWIS to Retail tenancy spaces. | Engineering | • Fire audit to confirm compliance. • Workplace Inspections undertaken according to Mirvac schedules. • Emergency lighting maintenance undertaken. • Contracts established to undertake fire drills and inspections to meet regulations. | Records of: • Fire audits and Compliance certificates. • Workplace inspections. • Evacuation drills, current evacuation diagrams and signage. • Evaluation of evacuation. | M6 | Asset Manager, Facility Management team, Service Providers | Daily inspections of the site, including plant areas are conducted by the Facilities Management team and/or Security team. 6- monthly wet & dry slip testing is performed by a third party provider engaged by Consolidated Property Services in designated site locations. The last slip test was performed 07• 06• 2024. During daily site inspections by Security, identified lighting issues are documented & passed on to our current general R&M contractor – Anka Property Services for action within 5 business days. Where multiple lights are out or deemed urgent, this is actioned the next business day. An inclement weather procedure is in place at the building which is enacted by our current cleaning contractor• Consolidated Property Services when required. This incorporates monitoring areas, regular mopping, use of “Wet Floor” signs & inclement weather matts where required. Non• slip stair nosing & contrast colour painted stair edging are in place on site. The condition of these are regularly reviewed during inspections of the site.
Public access around hazardous activities Risk of attacks, public demonstrations, impact to access and egress | Public exposure to hazardous activities | M12 | • Service Provider and maintenance to erect adequate barricades / hoardings/ signage in accordance with agreed JSEA/SWMS. • Inductions to cover Mirvac's requirements. • Security Management and site security personnel to assist in monitoring. • CCTV • Evacuation Plan kept up to date and accurate evacuation drawings displayed as required. | Isolation | • Mirvac staff aware of all activities in public areas, • JSEA/SWMS checked by facility management team to ensure they are suitable for the designated area. | • Regular workplace inspections. | M6 | Asset Manager, Facility Management team, Service Providers
Safe access though public areas/common areas | Slips, trips & falls | H16 | • Floors to be designed to have complaint slip ratings, non compliant surfaces to be identified and managed accordingly. • Periodic workplace inspections (daily/monthly) • Slip testing in internal areas • Inclement weather matts • Lighting • Signage "Slippery When Wet" • Increased rotation by cleaners for wet weather conditions • Non• slip contrasting stair nosing. • Slip trip hazards identified with highly visible/contrasting colours • Quick response to inclement weather or spills. • Hazard Identification and Risk Management (WHSP003) • Periodic workplace inspections (daily/monthly) • Slip testing in internal areas • Lighting • Inclement weather matts • Signage "Slippery When Wet" • Increased rotation by cleaners for wet weather conditions • Non• slip contrasting stair nosing • Slip trip hazards identified with highly visible/contrasting colours | Administration | • Annual slip testing to take place • Workplace Inspections undertaken according to the WRMP and service provider cleaning agreement. | • Workplace Inspections undertaken according to the WRMP and service provider cleaning agreement. • Discuss and advise tenants to assist in ensuring floors are free from risk where possible. • Cleaning rotation inspections as per SLA. • Records of Workplace inspections. | M6 | Asset Manager, Facility Management team, Service Providers
AIR QUALITY
Indoor and outdoor air quality | Adverse reactions to chemicals, particles and/or substances in the air | H16 | • Provide clean, healthy, fresh air to facility at all times. • Ensure adequate ventilation. • Ensure recommended chemicals and treatments are used in the correct quantities at all times. • Plant, equipment and filters are inspected and cleaned on a regular basis. • All chemicals to be used in accordance with the Safety Data Sheet (SDS). • HVAC preventative maintenance program in place • Indoor air quality testing conducted on a routine basis. • Indoor air quality issues reported and investigated on site • Indoor Air Quality Management (WHSP038) | Engineering | • Annual air quality testing for bacteria, CO’s, temp and humidity, or at more frequent intervals if deemed necessary. • Corrective and preventative actions implemented and recorded for any out of parameter levels. | • Monthly testing of water system quality. • Service Provider to be regularly monitored to ensure inspections are completed as per the SLA. | M6 | Asset Manager, Facility Management team, Service Providers | Indoor air quality testing performed by a specialist contractor on an annual basis. Last test performed by IAQ Environst February 2024. HVAC preventative maintenance is performed by our current mechanical services provider• D&E Air Conditioning, all maintenance is currently up to date.
BIOLOGICAL
Infection control / Needle Stick Injuries | Exposure to blood borne infectious diseases | H16 | • Ensure blood/faeces are cleaned up immediately after reporting, ensuring cleaners adherence to their own company procedures. • Ensure hypodermic needles, syringes, condoms or other, are collected immediately after they are reported utilising the recommended containers and tools as per SWMS / JSEA. • Biohazard / Clinical Waste (WHSP055) • Sharps disposal kits available • Biological waste handling provisions • Cleaners trained in removal of sharps and clean• up of biological hazards • Sharps and biological hazards removed from site by appropriate service provider | Elimination | • Provide appropriate training, equipment and PPE for managing biological hazards. • Dispose of biological waste in accordance with SWMS / JSEA. | • Service Provider to be regularly monitored to ensure activities are completed as per the SLA. | L3 | Asset Manager, Facility Management team, Service Providers | Portable sharps disposal units & biological waste disposal kits are located on site in the P1 cleaners office for use where required. Cleaning staff are trained in the safe handling/disposal of sharps & biological waste. Staff training requirements are regularly reviewed by our current cleaning provider – Consolidated Property Services. Staff refresher courses are performed on a regular basis or as deemed necessary following an incident.
| Exposure to infectious viruses | H19 | • Ensure Government guidelines on physical distancing can be achieved in the workplace. • Ensure that appropriate signage is displayed advising of conditions of entry and physical distancing requirements within the asset. People who are unwell will not be permitted access. • Ensure all contractors confirm compliance with control measures prior to accessing the asset. • Ensure that all high touch points are disinfected on a regular basis each day in accordance with Department of Health cleaning standards. • Ensure adequate sanitary, cleaning and PPE supplies are available. • Ensure building occupants are aware that they must report a suspected or confirmed case to building management immediately. • Ensure social distancing is maintained at seating areas (apply signage to fixed furniture, remove furniture where appropriate). • Ensure sanitisation stations are available in each lobby / EOT. | Elimination | • Provide appropriate training, equipment, PPE and resources for managing infectious viruses. • Ensure that potentially contaminated areas are disinfected immediately following a report of a suspected or confirmed case. • Ensure contact tracing is undertaken and relevant parties notified as soon as practicable. • Ensure infected individuals isolate for 14 days and obtain medical clearance before returning to the workplace | • Service Provider to be regularly monitored to ensure activities are completed as per the SLA. • Monitor reports from tenants. | L3 | Asset Manager, Facility Management team, Service Providers
COMMUNITY CONTACT
Community contact | Public safety Brand reputation Adverse media coverage | M10 | • All contact from the community including complaints, reports etc. are to be registered in iSystain within 24 hours • All media enquiries to be directly managed by the Mirvac Communications Team. | Administration | • Respond to complainant within 48 hrs. | • Records maintained in iSystain. | L3 | Asset Manager, Facility Management team, Service Providers
CONTACT WITH ELECTRICITY
Electrical tools and equipment | Electrocution or fire | H22 | • Industrial rated tools and equipment only including leads and plugs. • Elevation of leads and protection with plastic stand hooks; • Use of portable RCDs as required. • Ensure all electrical equipment is used and maintained as per manufactures recommendations and operational manuals. • Electrical Safety (WHSP016) • Permit to Work (WHSP029) • Permit to Work Electrical Works (WHS029A) • Licensed electrical contractors • Annual thermographic scanning • Residual current devices (RCDs) installed • Electrical testing and tagging of electrical equipment, including RCDs • Periodic workplace inspections | Engineering | • Pre• start check of condition of leads and tools and check within test date; • Lock out/tag out all faulty equipment. • Ensure all equipment is currently tagged and tested. | • Electrical tag and testing records | M10 | Asset Manager, Facility Management team, Service Providers | A safe work method statement & permit to work is required to be submitted for any non• routine electrical works. Access to the P1 main switch room & electrical risers in the building is restricted to authorised personnel only. An access card & key is required to be obtained from Security to access these areas. Electrical services maintenance for the site is performed by our current electrical services provider• Stowe Australia, all maintenance is currently up to date (thermoscans, switchboards, RCD’s, test & tag, etc.). Concrete: Approval must be obtained from the Facilities Manager/Facilities Supervisor prior to any concrete cutting/ coring/drilling works on site. Review of the proposed works by a structural engineer at the contractors’ expense is required prior to works being approved. In addition, the hazardous materials register for the site should be reviewed to ensure no hazardous materials are present in the proposed work area. Dependant on this review, samples may need to be taken for analysis prior to works being approved. Transformers: A safe work method statement & permit to work is required to be submitted for any non• routine electrical works. Substation controlled by CitiPower, MIRVAC do not have access to this room.
Electrical Installation (switch board) Supply (transformer) Working on Switchboards and TDB | Electrocution Fire Non compliant electrical work | H22 | • Adequate and compliant switch boards and wiring provided; • Residual Current Devices (RCD) installed. • Determine if any onsite transformers are owned by either the electrical authority or Mirvac. • Use of rated conduits for temporary wiring; • Inspected and maintained • Electrical Safety (WHSP016) • Permit to Work (WHSP029) • Access Control | Elimination | • Annual testing of RCDs. • Annual Thermography Scans undertaken. • Isolation stickers are provided where required. • Implement corrective and preventative actions as required. | • Record of annual Thermoscan Report. • Regular inspection of workplace as per FCR36. | M10 | Asset Manager, Facility Management team, Service Providers
Electric welding | Electrocution Burns Fire Property damage | H22 | • Compliance of switchboards with AS3012 with 30MIRVAC socket provided at all switchboards; • Welding earth situated close to welding location and attached to clean & conductive surface; • Voltage Reducing Device (VRD) used in wet conditions or if working on or in conducting material (Cat B & C); • Training and competency; • Electrical PPE (mats, gloves, face shield); • Emergency Management Plan in place and tested. | Engineering | • Performance of VRD tested by qualified electrician quarterly • Welding undertaken by a qualified welder. • Dry welding glass gloves used by person conducting welding. | • Record of competency provided. • Records of testing & inspection. | M10 | Asset Manager, Facility Management team, Service Providers
Drilling/Saw cutting into slab with energised in• situ electrical cables | Electrocution Loss of power | H21 | • No drilling or cutting into slab (> 40mm) with live electrical cables unless approval has been given by Mirvac centre management. • Slab scans to be completed is approval is given • Check at switchboard locations or underside of floors to determine if conduits and / or cables enter / exit the structure / slab etc. • Barricading is to be erected around areas to be cut to ensure only those involved have access. The slab must be cut into block sizes that can be lifted by a crane or a lifting device approved by a competent engineer. • For any work involving cutting, nailing, coring or drilling where work is within 3m of a known electrical, gas, water or telecommunications service the Coring Chasing Concrete Cutting Permit must be completed. A Permit must also be completed where the depth of the penetration is >40 mm or is determined by risk assessment to require one. • Review of scope of works • Engage engineer where appropriate • Security inspections during works • Permit to Work• Drill, Cut, Core, Chase (WHS029F) | Engineering | • In the event of drilling or cutting into a slab that has live electrical cables, once assessed by site electrician and Mirvac Workplace Manager if the area has potential for live cables in that area then a Mirvac Coring permit must be complete, where isolating all power to that area will be ensured. • Toolbox talk and consult service providers on procedure and when slabs are energised, communicate at subcontractors meeting. • All services must be marked• up using a non• water• soluble fluoro marker plus on the site plan before work starts. High voltage cables must also be sign posted with their location. | • Records of Consultation • Coring/Chasing permit • Scan record • On site observations | H15 | Asset Manager, Facility Management team, Service Providers
Undertaking Electrical Work on or near energised services (installation, commissioning, maintaining, fault finding, isolating, testing, re• energising) | Electrocution Explosion | H22 | • Person not working on 'live' equipment (e.g., Distribution Board or circuit isolated & locked out); • Hard barriers to maintain safe approach distances and prevent inadvertent contact; • Rated insulation/intrinsically safe tools to protect if contact occurs; • Isolation Lockout Tagout MMR and personal locks; • Earth leakage protectors and inbuilt fault tripping; • Isolation Lockout Tagout Permit; • Training and Competency; • Emergency Recue Kits and Standby Person; • Electrically rated PPE, mats, gloves, multimeter; • Electrical Handover processes and certificate. | Engineering | • Person is licenced electrician using Service • Provider Isolation Procedure or trained in Mirvac Isolation Procedure | • Record of competency & isolation training provided • Physical lock out/isolation system observed in operation • Register of lock out/isolation system implementation | H19 | Asset Manager, Facility Management team, Service Providers
CONFINED SPACES
Entry into confined space • Grease traps • Pits (Lifts) • Storage & Retention Tanks • Cooling towers • Drainage pits | Entry by unauthorised person | H20 | • Design out and eliminate the need to enter confined spaces where possible; • Confined spaces labelled and access restricted (e.g. Key locked, signage, barricade) (isolation); • Maintain a register and risk assessment for Confined Spaces (administrative) • Confined space entry controlled through permitting system (administrative);Design out confined spaces where possible; • Confined Space Management (WHSP026) • Permit to Work (WHSP029) • Confined Space Entry Permit (WHS029C) • Confined Space Register (WHS026A) established and made available to contractors and other relevant site stakeholders • Confined spaces identified by a competent person • Confined spaces labelled • Confined spaces secured from unauthorised access | Isolation | • Confined space entry permit completed by person trained in confined spaces (by RTO with confined spaces in their scope). • Entry restricted to persons with confined space training certificate. • Person that accepts risk assessment is trained in risk assessment • Standby person at confined space entry point controls entry and exit • Gas monitor has a current calibration and is 'bump tested' in fresh air prior to each use. • Emergency retrieval system has been prepared or authorised by a person that is confined space trained (by RTO with confined spaces in their scope). | • Register of Identified Confined Spaces and risk assessment. • Record of training • Register of persons entry/exit to space | H15 | Asset Manager, Facility Management team, Service Providers | Confined spaces audit performed by a specialist contractor on a 5• yearly basis. The last audit was performed by RiskTech Compliance in December 2020. Report to be reviewed & actioned accordingly. A confined space entry permit is required to be completed & submitted prior to entry into any designated confined spaces on site. In addition to the permit, a safe work method statement & rescue plan must also be submitted to the Facilities Manager/Facilities Supervisor for review & approval prior to entry being approved.
CONSTRUCTION ACTIVITIES
Principal Contractor construction activities | Injuries to people, damage to property and the environment | H16 | All construction works over $250,000 ($350,000 VIC) performed on site must have an appointed Principal contractor. All construction works below this amount must have a licensed builder. Principals Contractors must be appointed in accordance with the Mirvac Principal Contractor Management Procedure. Mirvac Contractor Registration & Qualification Process to be undertaken by Principal Contractor in consultation with HSE. Contractors to follow and abide by their own SWMS/JSEA for specific work being undertaken. | Administration | A representative from the PC is to undertake the Mirvac Contractor Registration and Induction process. All employees and subcontractors of the PC must undertake the PC's induction for the project. If a PC is not required to be appointed, all contractors must follow the Mirvac Contractors Registration and Induction process. A representative from the PC is to log in/ out of contractor management system (CMS) daily whilst works are being undertaken. PC employees and subcontractors conducting building impact works must sign in/out of the CMS terminal. | BM to conduct periodical inspections of construction as per FCR37. Implementation Review to be undertaken by HSE. | M10 | Asset Manager, Facility Management team, Service Providers, HSE | Approval must be obtained from the Facilities Manager/Facilities Supervisor prior to any concrete cutting/ coring/drilling works on site. Review of the proposed works by a structural engineer at the contractors’ expense is required prior to works being approved. In addition, the hazardous materials register for the site should be reviewed to ensure no hazardous materials are present in the proposed work area. Dependant on this review, samples may need to be taken for analysis prior to works being approved.
Site wide scheduled crane lifts | Injuries to people, damage to property and the environment | H16 | All construction works under $250,000 ($350,000 VIC) must be completed by a licensed contractor. Mirvac Contractor Registration & Qualification Process to be undertaken by Mirvac contractors and tenant contractors undertaking building impact works. Contractors to follow and abide by their own SWMS/JSEA for specific work being undertaken. | Administration |  |  | M11 | Asset Manager, Facility Management team, Service Providers
Construction activities Refurbishments/Refit etc. Concrete cutting / Coring / Drilling | Injuries to people, damage to property and the environment Service Strike, Loss of integrity of slab | H16 | All construction works under $250,000 ($350,000 VIC) must be completed by a licensed contractor. Mirvac Contractor Registration & Qualification Process to be undertaken by Mirvac contractors and tenant contractors undertaking building impact works. Contractors to follow and abide by their own SWMS/JSEA for specific work being undertaken. Specfic to job requirements. • Review of scope of works • Engage engineer where appropriate • Security inspections during works • Permit to Work• Drill, Cut, Core, Chase (WHS029F) | Administration | Contractors to log in/ out of contractor management system (CMS) daily whilst works are being undertaken. BM to review CMS for site access and compliance. Review of all SWMS , methodoligies and traffic management by senior site team before any lifts are approved | All contractors and tenant contractors conducting building impact works must complete Mirvac registration and induction process prior to starting works. BM to conduct periodical inspections of construction as per FCR37 | M10 | Asset Manager, Facility Management team, Service Providers
CONTRACTOR MANAGEMENT
Mirvac and Tenant Contractors | Injuries to people, damage to property and the environment. Contractors accessing site and undertaking works in an unsafe manner, including: • Service/maintenance contractors • Development/project contractors • Tenant engaged contractors | H17 | • Mirvac Contractor Registration & Qualification Process to be undertaken by contractor. • Contractor audit FCR37 to be conducted twice a month. • Review SWMS to ensure adequate control are identified in SWMS. • House Rules. • Site Access Request Form. • Access restricted (i.e. contractors required to make contact with FM prior to commencement of works). • Property Risk Register. • Security contractors on site • Security patrol service provided after hours. • CCTV installed • Access control system provided | Administration | • Contractors to log in/ out of contractor management system (CMS) daily whilst works are being undertaken. • FM to review CMS for site access and compliance Contractor Management (WHSP009) Contractor Management System implemented to manage the prequalification process Permit to Work (WHSP029)• Property Risk Register (WHS003A) Annual site specific induction Access restricted (i.e. contractors required to make contact with FM prior to commencement of works). Site specific SWMS for non• routine, high risk or construction work Contractor monitoring activities via the Contractor Spot Check template Annual communication and consultation meeting | • Completion of Mirvac General and Workplace Specific inductions prior to attending site. • FCR 37 • HSE Observations | M10 | Asset Manager, Facility Management team, Service Providers | Only inducted & authorised personnel permitted access to site to perform works. A safe work method statement is required to be submitted to the Facilities Manager/Facilities Supervisor for review & approval for any non• routine works. Where required, relevant permits to work are also required to be submitted to Security. Access to restricted areas require an access card or key to be issued by Security.
COOLING TOWERS
Cooling Towers | Legionnaires disease Respiratory failure High plate count | H21 | • Management of cooling towers to be in line with the Mirvac Cooling Towers Manual to ensure adequate water treatment and cooling tower monitoring process is maintained. • Bacterial water testing to be inducted on a monthly basis as per legislative and Australian standard requirements. • Risk Management Plan developed and reviewed periodically by contractor and independant auditor. • Escalation Procedure implemented • Cooling towers maintained in accordance with Australian standards, legislative requirements and manufacturers instructions (monthly dosing and testing). • Status reporting to Management in place. • Cooling Tower (EWHSP028) • Escalation Procedure implemented • Cooling towers maintained in accordance with Australian standards, legislative requirements and manufacturers instructions (monthly dosing and testing). • Water testing undertaken as per legislative and Australian standard requirements. • Status reporting to Management in place. | Administration | • Implementation of the Mirvac Cooling Tower Manual. • Engagement of suitable qualified service provide for water testing and cooling maintenance. • Engagement of independent auditor annually to review cooling towers and RMP. | • Inspections as per cooling tower manuals. • Monthly testing of cooling tower water, follow• up of corrective action for any out of parameter readings. | M10 | Asset Manager, Facility Management team, Service Providers | The level 15 roof where the cooling towers are is a designated restricted area. A roof access permit is required to be submitted prior to an access card & key being issued by Security to access this area. Annual review of cooling towers performed by a specialist contractor. The last cooling tower risk management plan audit performed by Vega Water in April 2024 . This audit identified 2 x new risk items which have been passed on to relevant contractor for action. Weekly maintenance on the cooling towers performed by our current cooling tower service provider• Hydro Flow. Monthly water sampling on the cooling towers performed by our current service provider for this task• Independent Monitoring Consultants.
EMERGENCY PREPAREDNESS
First Aid | Injuries to people, damage to property and the environment, including escalation | M11 | • First aid officer to undertake competency• based training form a RTO. • All security guards are trained First Aid Officers. • First aid kits. • First aid kit signage. • Eyewash kits/station • Contractors provide own First Aid kit • Automated External Defibrillators. • First Aid (WHSP061) • Trained First Aid Officers • First aid kit inspections • Eyewash kits/station • Contractors provide own First Aid kit • Automated External Defibrillators | Administration | • Site Specific Procedures Manual to be held on site. • BM to ensure evacuation plans (with identified “you are here” stickers) are in place and displayed at Mirvac Retail workplaces. | • Observe that evacuation plans are in place and displayed in prominent locations. • Regular evacuation training is provided to tenant employees including first aid (supplies and training). | L2 | Asset Manager, Facility Management team, Service Providers | First aid kits serviced by St. John Ambulance Victoria on a quarterly basis. Last serviced 29-04-2024 Level 15 cooling tower area eye wash station serviced by TD Wright Plumbing on an annual basis. Defibrillator units serviced on an annual basis by Australian Defibrillators, the last service occurred in March 2024. Emergency Management Plan document current, Business Continuity Plan document current. MIRVAC engaged contractors must have a valid RAPID induction to be permitted to perform works on site. Evacuation diagrams for the building current - expiry July 2026. Quarterly warden training is provided by our current evacuation consultant - People First Fire, the last sessions occurred in June 2024. The last trial evacuation exercise for the building occurred in March 2024 2024 Annual Essential Safety Measures report signed off by DougWestwood. Fire services preventative maintenance performed by our currently fire services contractor- Grosvenor Group currently up to date. Annual systems interface performed by D&E Air Conditioning/Grosvenor Group 24-03-2024
Naturals disasters | Loss of life, property and interruption to business operations | H22 | • Senior management to be involved to review the location (proximity to hazard – flood prone areas/bush fire zones) and type of asset (structure• to determine if the risks to the asset can be eliminated or minimised. • Flood prevention and mitigation strategies to be developed in line with local government recommendations. All new builds and refurbishments are to undergo the DOOR process to ensure Flood/Bushfire risk may be reduced by the design. • Crisis Management (WHSP014) • Emergency Management (WHSP010) • Fire Life Safety (WHSP015) • Base building emergency response procedures developed and distributed to all tenants. • Staff and contractor induction processes • Evacuation diagrams posted throughout the building • Annual evacuation drills • ECO training undertaken at 6 monthly intervals • Essential services equipment maintained in accordance with maintenance schedule and Australian standards (Annual Fire Safety Statement obtained) | Administration | • Where the risk is present as determine by the DA or council requirements, the development of a flood/bushfire management plan linked to the Emergency Response/business continuity plan (BCP) is to completed and implemented (communicated) into the facility overall site specific procedures. | • Weather events which have the likelihood to impact the property are to be monitored through local and state media (bureau of Meteorology, News (TV/Radio) stations. | L3 | Asset Manager, Facility Management team, Service Providers
Evacuation / Bomb Threats / Failure of Servcies ie. Leak, contamination of soil | Damage to Property | H22 | • Evacuation and control procedures documented by Mirvac Retail specific emergency evacuation consultant. Documents to be held on site by site team. • Procedures to be practiced regularly. • Document to be reviewed on a regular basis. • Base building emergency response procedures developed and distributed to all tenants. • Staff and contractor induction processes. • Evacuation diagrams posted throughout the building. • Annual evacuation drills • ECO training undertaken at 6 monthly intervals. • Essential services equipment maintained in accordance with maintenance schedule and Australian standards (Annual Fire Safety Statement obtained). | Administration | • Where the risk is present as determine by the DA or council requirements, the development of a flood/bushfire management plan linked to the Emergency Response/business continuity plan (BCP) is to completed and implemented (communicated) into the facility overall site specific procedures. • Increased Warden Training to Customers as there are Reduced number of Wardens in the building due to working from home arrangements to assist with emegency. | • Weather events which have the likelihood to impact the property are to be monitored through local and state media (bureau of Meteorology, News (TV/Radio) stations. | M9 | Asset Manager, Facility Management team, Service Providers
Fire | Fire, loss of life and property | H15 | • All buildings to include fire protection systems to detect and prevent the spread of fire. • Fire systems to be identified in Emergency & Evacuation Management Plans • All isolations of fire systems to be recorded by “Isolation Permit” at Building Management as well as isolation log book at FIP. • Fire Life Safety (WHSP015) • Building fitted with the following essential services: • Sprinkler system • Fire detection and alarm system • EWIS system • Risers / Hydrants • Hose reels on all floors • Extinguishers on all floors • SIT completed • All fire systems maintained in accordance with AS1851 and PPM schedule • Annual Fire Safety Statement provided for the building | Administration | • Verification of annual Maintenance requirement – Service Providers to comply with AS1851 (Routine service of fire protection systems and equipment) • Emergency Evacuation training for all employees and use of certain fire equipment (QLD/ fire extinguisher). • All systems and equipment to be tested as per AS 1851 and certified by contractor allow the Annual Fire Safety • Statement to be completed and issued to council, as well as Insurers and National Ops Mgr. advised of impairments and of their return to service. | • Fire system inspection and critical dates maintained as per Mex requirements. • Annual Emergency Evacuation Drills. • Bi• Annual Emergency Control Organisation (ECO) training. | L5 | Asset Manager, Facility Management team, Service Providers
ESCALATORS, TRAVELATORS AND LIFTS
Escalators, travelators and lifts | Entrapment, falls from heights, crush injuries | H20 | • Lifts, escalators and travelator operation and maintenance must be in compliance to Mirvac Retail Lifts, Escalator and Travelators Procedure. • Regular inspections to be undertaken. • Plant and Equipment (WHSP017) • Preventative maintenance program in place • Signage • Vertical Transport (WHSP020) • Plant registration | Isolation | • Lifts, Escalator and Travelators are to be covered by comprehensive (maintenance) contracts provided by recognised lift maintenance companies. | • FM to carry out routine inspections of lifts, travelators and travelators or as per FCR36 requirements. | M9 | Asset Manager, Facility Management team, Service Providers | Lift & escalator maintenance is performed by our current vertical transport service provider Kone. An independent audit of the lift & escalator maintenance is also performed by Elevator Project Management on an annual basis. Since 1st July 2014, you are no longer required to register items of plant with WorkSafe or re• register every five years.
FALLING OBJECTS
Stationary Working Platforms (e.g., scaffolds, elevated walkways, trestles) including collapse | Object falling from height Hit / Strike employee or member of public | H16 | • Use of physical barriers to prevent objects dropping (containment meshing); • Brick guards fitted where potential for falling objects exists; • Protection of the structure from being hit by loads or mobile plant; • Toe boards installed; • Scaffolds, walkways, elevated work areas e.g., slabs, roofs have toe boards installed.; • Work within the design rating of the equipment; • Management of Change process to ensure integrity is maintained when structure changes; • Scaffolding design drawings and plans and checks that construction is compliant. | Isolation | • Handover certificate received • Mirvac inspection prior to acceptance. | • Records of Certificates and Inspections • On• site observation | M10 | Asset Manager, Facility Management team, Service Providers | Regular façade condition inspections are undertaken at the site. The last full Façade & Structure Condition inspection was performed by Van Grieken & Associates in November 2023. EWP: 2 x MIRVAC owned elevated work platforms (EWP) are located on site for use by base building contractors where required. A safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review prior to approval being given to operate an EWP on site. Only trained operators are permitted to operate EWP’s on site. The contractor must show their licence to operate an EWP to Security prior to keys being issued. Contractors are required to perform the EWP start up checks prior to operation. The EWP’s are serviced by a third party specialist contractor engaged by Stowe Australia on a quarterly basis. An aditional person equipped with PPE is required as a spotter for traffic management while the EWP is traversing within the building premises.
Façade Works | Object falling from height Hit / Strike employee or member of public | H16 | • Use of physical barriers to prevent objects dropping (containment meshing); • Periodic workplace inspections. • Routine façade inspections undertaken on site. • Façade management plan developed all remedial actions loaded into Risk IMS for tracking and monitoring. • Façade Management (WHSP053) • Periodic workplace inspections • Routine façade inspections undertaken on site • Façade management plan developed all remedial actions loaded into Risk IMS for tracking and monitoring | Isolation | • Façade management plan developed all remedial actions loaded into Risk IMS for tracking and monitoring. | • Façade management plan developed all remedial actions loaded into Risk IMS for tracking and monitoring. | M10 | Asset Manager, Facility Management team, Service Providers
Mobile Working Platforms (e.g. Elevated Work Platform (EWP), Scissor Lift, Swinging Stages, mobile scaffolds) | Object falling from height Hit / Strike employee or member of public | H16 | • Staging of the work when no one else around; • Separated work fronts to avoid simultaneous operations; • Adhere to minimum standards for design compliance; • Exclusion zone implemented • Work within the design rating of the equipment; • Management of Change process to ensure integrity is maintained when structure changes; • OEM requirements complied with; • Processes for the management of Design of Temporary Works; • Plant Arrival Checklist; • Plant Risk Assessment; • Plant maintenance and inspection regime; • Verification of Competency for operators; • High Risk Work Licenses where required (e.g. scissor lift over 11m). • Periodic workplace inspections. • Preventative maintenance program in place. • Plant and equipment (WHSP017) • Competent operators • Pre• start checks • Safe Operating Procedures • Servicing/maintenance regime • Controlled/restricted key access for operation • While EWP is being transported through the building a spotter wearing PPE will be required at all times to traffic manage the EWP in its transportation route thought the building | Elimination | • Handover certificate received • Mirvac inspection prior to acceptance • Exclusion zone marked and maintained | • Records of Certificates and Inspections • On• site observation | M10 | Asset Manager, Facility Management team, Service Providers
HAZARDOUS SUBSTANCES
Storage and Handling of Hazardous Substances | Spills or discharge causing contamination Injury/Illness of Member of Public, Contractor or Worker | M10 | • Substances/goods stored and handled in accordance with SDS (Safety Data Sheet). • Appropriate bunding for hazardous chemicals with a minimum of 110% capacity. • Untrained people not to use or determine storage requirements for hazardous substances or dangerous goods • Products stored in approved cabinets or purpose• built containment areas • Hazardous Substance Risk Assessment completed including research and purchase of less hazardous/ dangerous products • All users of hazardous substances appropriately trained and have adequate PPE • Spills kits in stock • Appropriate First Aid facilities including eye wash stations. • Hazardous Substances Register in place and updated regularly. • Chemical containers appropriately labelled. • Chemicals stored appropriately e.g. segregation, ventilation, spill kits, bunding/secondary spill containment. • Signage/placarding • Chemicals stores locked to prevent unauthorised access. • Hazardous Substances (WHSP032) • Underground Storage Tanks/Bulk Fuel Storage (WHSP033) • Hazardous Substances Register (WHS032A) • Safety Data Sheets posted with chemicals • Chemical containers appropriately labelled • Chemicals stored appropriately e.g. segregation, ventilation, spill kits, bunding/secondary spill containment • Signage/placarding • Chemicals stores locked to prevent unauthorised access • Emergency eyewash station located adjacent to cooling tower chemical storage areas | Substitute | • Products & Hazardous Substances Register completed listed • SDS (Safety Data Sheet) for all products in use, issue date less than 5 years old. • Hazardous Substance Risk Assessment completed for all products/substances/goods classified as hazardous • Products/substances labelled • Person trained in storage and use of hazardous substance and dangerous goods as outlined on the HSRA and in the MSDS (SDS) • Appropriate number of spill kit and in appropriate locations | • Records of MSDS (SDS) • Spill Kit stocked and audited. • Records of spill response training available. • On• site observation. • Drainage outlet to bunding locked. | L5 | Asset Manager, Facility Management team, Service Providers | Hazardous chemicals audits are performed on an annual basis. The last audit was performed by RiskTech Compliance in March 2024. There are no underground fuel storage tanks located on site.
HAZARDOUS MATERIALS
Asbestos, Lead, Polychlorinated Biphenyls (PCBs), synthetic mineral fibres, lead or other as identified (also refer Asbestos in Occupational Exposures Section) | Asthma, skin rashes, allergic reactions, allergic sensitisation, cancer, and other long term diseases from exposure to substances. | H22 | • Hazardous material survey to be conducted on all assets built before 2003 and if materials found a new survey to be completed every 5 years. • All identified asbestos must be labelled with the type and nature of the material (friable/non• friable). • Removal of asbestos to be conducted by licensed removalist. • Hazardous material to be disposed of in accordance with Local, State and Federal Legislation. • If suspected asbestos is found in asset it is to be treated as Asbestos; • Asbestos is to be wet down, National HSE Manager be notified, tests to be completed to determine if it is Asbestos. • Asbestos Management Plan (MIRVAC) prepared and implemented on site. • Asbestos register made available to contractors and other relevant site stakeholders. • Where asbestos has been removed, documentation confirming this is available on site. | Administration | • Hazardous Material Survey to be reviewed prior to any work commencing • Contractor licensed by Environmental Regulatory Authority (ERA) • Transporter and receiver of waste are ERA Licensed • Waste transport certificate is obtained. • Signage and emergency response equipment available relevant to the class of substance/good stored. | • Records of survey/ licenses • Hazardous Materials• 5 yearly inspection of areas containing Asbestos by a competent person. • A Register of all Hazardous Materials to be kept on site. | H14 | Asset Manager, Facility Management team, Service Providers
HEAVY VEHICLES
Vehicles with twin axel or greater | Fatigue, motor vehicle accident, unsecured load. | H22 | • Ensure that any items packed or loaded by Mirvac personnel are packed and secured safely. . | Administration | • Do not direct or encourage the driver to work unsafely (e.g. speeding or driving while fatigued). | • Monitor vehicle and driver activity on site and address any concerns immediately. | H14 | Asset Manager, Facility Management team, Service Providers
HOT WORKS
Hot work (welding, burning or angle grinding)• | Fire Burns Property damage Environmental damage | H16 | • If possible, redesign the work methodology to a non• heat producing methodology; • Non• flammable screens to protect flammable substances from the work; • If welding/cutting, gas cylinders secured and have flashback arrestors fitted at torch and gas bottle on both hoses; • Hot Work Permit used and copy at location of work; • Trained and competent operator; • Fire equipment working properly and located within 2 metres of hot work; • Spotter in place with firefighting equipment; • Fire Equipment Register and maintenance program • Fire impairment request in place. • Hot and Cold Works (WHSP056) • Permit to Work Procedure (WHSP029) • Hot Work Permit (WHSP029D) • Fire Life Safety (WHSP015) • Fire Impairment Request Template (WHSP015A) • Fire Isolation Request Template (WHSP015B) • Fire Isolation Log Template (WHSP015C) | Engineering | • A competent and experienced person has conducted a Risk Assessment of the proposed work and inspected the workplace. • Hot Work Permit issued in accordance with the Hot Work Procedure and discussed with the person undertaking the hot work. • Include potential of falling objects and hot material from overhead Hot Works in JSEA • Review of Hot Work Permit if work conditions or location changes. • Inspection during hot work task. • Permit closed out at conclusion of hot work • 12 monthly testing/ replacement of flashback arrestors Flashback arrestors fitted by competent person (e.g. plumber, welder) • Inspection of fire equipment carried out within last 6 months • Personnel trained in use of fire extinguishers | • On• site observation • Hot Work Permit at work location, all conditions comply • Maintenance records | M10 | Asset Manager, Facility Management team, Service Providers | A hot works permit is required to be submitted for any cutting, grinding or welding works on site. A safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval prior to works being performed. In addition, isolation of smoke detection in the general vicinity of the works is required to be arranged through Security. De• isolation is to be arranged on completion of works. The fire isolation register located in the P1 Fire Control Room is completed by Security for any smoke detection isolations & signed off on re- instatement of the detectors.
LIGHTING
Lighting | Inadequate lighting causing Injuries to people, damage to property | M11 | • All designs to comply with Australian Standard Building Fit Out specifications. • Compliance with the relevant Australian Standard for LUX Levels • Task specific lighting in place as per SWMS / JSEA. | Engineering | • DOOR 4 inspection to verify sufficient lighting • Regular inspection of workplace. | • Regular lighting inspections undertaken with defects identified and reported. • Night audits completed | L2 | Asset Manager, Facility Management team, Service Providers
MANUAL HANDLING
Activities that may include lifting, lowering, pushing, pulling | Sprains, strains and damage to joints ligaments and muscles | H16 | • Consider safe access and use in the design phase (DOOR). • Assess the risk prior to any manual handling task. Plan the task and ensure pathways are clear. Use mechanical aid or trolley where possible. • Bulk loads must be secured on trolleys to prevent toppling. • Follow SWMS / JSEA for all hazardous manual tasks. • Manual Handling (WHSP060) • Mechanical aids e.g. pallet jacks, trolleys • Manual handling training | Elimination | • Training in correct manual handling techniques (incl. on• going toolbox talks, coaching) • Maintain mechanical aids. • Monitor hazardous manual tasks to ensure compliance. | • Records of training • On• site observation • Maintenance records | M10 | Asset Manager, Facility Management team, Service Providers | A dock hoist is located in the P1 loading lock to assist with transportation of heavy or large items from vehicles up to the raised dock platform. Where mechanical aids such as pallet jacks & trolleys are to be used, a safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval prior to works being performed.
OCCUPATIONAL EXPOSURES
Thermal Stress/ UV radiation | Illness to workers from long terms exposure | H16 | • Job rotation, provision of PPE, rest breaks, provision of thermally regulated break rooms • Limit physical work to early mornings when temperatures are cooler; • Provide adequate shade and access to drinking water; • Stop work in extreme temperatures; • PPE and sunscreen in use as per SWMS / JSEA; • All persons handling or storing hazardous chemicals/substances must undertake Occupational Exposures Training | Elimination | • Supervision of work design and task rotation; • Workplace inspection; • Monitor BOM forecasts; • Temperature and Humidity monitoring | • On• site observation by Mirvac and regular inspections | M9 | Asset Manager, Facility Management team, Service Providers
Inhalable dust/ Respirable Dust/ Crystalline Silica | Illness to workers from long terms exposure | H21 | • Use of dust minimising work practices (e.g. wet cutting) • Use of dust minimising hand tools (grinders/ saws fitted with vacuum extraction) • Use of Respiratory Protection as per SWMS / JSEA; • Project personnel alerted to substances and risk of exposure; • All persons handling or storing hazardous chemicals/substances must undertake Occupational Exposures Training | Engineering | • Workplace inspection to ensure dust suppression is adequate; • Dust monitors to be used where required | • Air quality monitoring by hygienist where required. | M10 | Asset Manager, Facility Management team, Service Providers
Diesel particulate | Illness to workers from long terms exposure | H16 | • Forced ventilation; • Use of catalytic converter when indoors; • Personnel alerted to substances and risk of exposure; • All persons handling or storing hazardous chemicals/substances must undertake Occupational Exposures Training; • Substitute with Gas power where possible. | Engineering | • Ensure design provides adequate ventilation (DOOR Process); • Plant and equipment is maintained and serviced as per manufacturers recommendations. | • Site Inspections and Audits; • Induction Records | M10 | Asset Manager, Facility Management team, Service Providers
Organophosphate | Illness to workers from long terms exposure | H16 | • Use of lowest risk chemicals/ organophosphate free where possible; • Use of PPE; • Project personnel alerted to substances and risk of exposure; • All persons handling or storing hazardous chemicals/substances must undertake Occupational Exposures Training | Substitution | • Required training occurs; • JSEA/SWMS approval process considers required controls. | • Site Inspections and Audits; • Induction Records | M10 | Asset Manager, Facility Management team, Service Providers
VOC's | Illness to workers from long terms exposure | H16 | • Hazardous substance pre• purchase risk assessment• low VOC process; • Use of forced/ natural ventilation; • Respiratory protection; • Project personnel alerted to substances and risk of exposure; • HSE Manager trained in Mirvac Occupational Exposures Training • Occupational Exposures covered in Induction Training for all workers | Substitution | • JSEA/SWMS approval process considers required controls • Required training occurs; | • Site Inspections and Audits; • Induction Records | M10 | Asset Manager, Facility Management team, Service Providers
Heavy Metals/ Weld Fume | Illness to workers from long terms exposure | H16 | • Forced ventilation • Substitute welding with lower risk work practices • Respiratory protection • Hot works permit • Project personnel alerted to substances and risk of exposure; • HSE Manager trained in Mirvac Occupational Exposures Training • Occupational Exposures covered in Induction Training for all workers | Engineering | • JSEA/SWMS approval process considers required controls; • Required training occurs; | • Site Inspections and Audits; • Induction Records | M10 | Asset Manager, Facility Management team, Service Providers
OCCUPATIONAL NOISE
Noise | Hearing loss or damage. Discomfort to the community Nuisance noise | M11 | • Noisy activities isolated from general work areas by noise barriers wherever possible • Personal hearing protection must be work as required in the SWMS / JSEA's • Use of noise minimising tools / equipment where possible. • Appropriate respite periods to be incorporated into the job schedule. • Plant rooms secured from unauthorised access. • PPE (hearing protection). • PPE Signage. • Noise Management (WHSP040) • Plant and Equipment (WHSP017) • Preventative maintenance program in place • Plant rooms secured from unauthorised access • PPE (hearing protection) • PPE Signage | Engineering | • Audiometric testing for at risk employees if required to wear hearing protection on a frequent basis. • Noise monitor to be calibrated according to manufacturer’s instructions, and Occupational Noise MMR. • Inspection of isolation barriers • Noise monitoring conducted where changes occur to a property. Relevant information is to be capture during design. | • Records of Noise Monitoring; • Records of Calibration; • Records of hearing test programs • On• site observations | L2 | Asset Manager, Facility Management team, Service Providers | Occupational noise assessment audit performed on a 2 yearly basis. Last audit performed by RiskTech Compliance in March 2021. Noise assesment are to be assessed every 5 years. Access to plant areas in the building is restricted to authorised personnel only. An access card & key is required to be obtained from Security to access these areas.
PLANT & EQUIPMENT
Operation of Plant and Equipment in common areas | Injuries to people Damage to property | H20 | • Exclusion zone set for all plant operating in common areas • High vis vets, reversing beepers to be used • Spotter required when plant is moving • If more than 1 plant operating in the area, a spotter is required to manage pedestrians. • Operators is licenced and competent. • Plant arrival checklist to be completed including obtaining appropriate licenses • Appropriate permit completed • Rules of operation are established (e.g., speed limits, looking in direction of travel, stopping at blind corners) • Plant and Equipment (WHSP017) • Preventative maintenance program in place • Competent operators (mobile plant) • Plant pre• start checks (mobile plant) • Signage • Plant registration • Plant rooms are secured, access controlled by FM • Plant guarding • Periodic workplace inspections | Administration | • Requirement for spotter, PPE and reversing beeper included in JSEA • Spotter rotated regularly • Operator is licenced and competent | • On• site observation • Regular inspections • Completion of FCR 36 and 37 • Record of competency • Permit • Plant Arrival Checklist | H15 | Asset Manager, Facility Management team, Service Providers | Only trained operators are permitted to operate mobile plant on site. Prior to approval for such works, a safe work method statement is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval. Since 1st July 2014, you are no longer required to register items of plant with WorkSafe or re-register every five years. Access to all plant areas on site is restricted to authorised personnel only. An access card & key is required to be obtained from Security to access these areas. Daily inspections of the site, including plant areas are conducted by the Facilities Management team and/or Security team.
Plant and equipment with moving / rotating parts | Injuries to people Damage to property | H20 | • Design to eliminate the risk or reduce to as low a practicable; • Appropriate machine guarding or exclusions zones must be in place; • Where possible use Interlocks to cut power to moving parts; • Plant arrival/induction checklist to be completed on all plant; • Appropriate Permit issued prior to use; • Operators trained and competent in correct use; • All plant and equipment undergo routine maintenance to OEM requirements; • All signage and warning signs in place: decals, crushing hazards, pinch points etc.; • Plant Risk Assessment; • PPE.as per SWMS/JSEA • While EWP is being transported through the building a spotter wearing PPE will be required at all times to traffic manage the EWP in its transportation route thought the building | Engineering | • Inspection of guards including adequacy of screening and fixings • Pre• operation checks and regular inspections. • Operator is competent to use equipment. | • On• site observation • Lockout Tag our Procedure. • Maintenance Schedule and Reports. • Pre• operational check and inspections. | L5 | Asset Manager, Facility Management team, Service Providers
Maintenance of plant and equipment | Injuries to people Damage to property | H16 | • Plant to be de-energised and locked out prior to commencing work. • Maintenance plan as per OEM requirements; • Maintain Plant and Equipment Register and records; • Qualified mechanics performing servicing; • Plant Risk Assessment. | Administration | • 'Test for Dead' before work commences | • Records of isolation• lock out/tag out register | M11 | Asset Manager, Facility Management team, Service Providers
PLANT ROOMS
Main Plant Room Sprinkler Valve Room Switch Rooms Lift Motor Rooms Fire Control Rooms | Injuries to people, damage to property | H16 | • All plant and switch rooms are to be locked, secure with access keys to be restricted. • Unauthorised access into the plant rooms to be prevented. • Plant rooms to be free from unnecessary items and must contain sufficient lighting. | Elimination | • Access control system to be put in place to monitor access. • Appropriate signage to be installed at entries. | • Regular security checks to be undertaken to ensure enclosures remain locked and secure. • Completion of FCR36 and appropriate tenant inspections where required. | L2 | Asset Manager, Facility Management team, Service Providers
SECURITY
Security Operations | Armed Hold up Injuries to people, damage to property Unauthorized site access | H20 | • Facility type / tenant profile to be assessed for heightened threats. Additional controls to be included here as required. • Security Management (WHSP054) • Security contractors on site • Security patrol service provided after hours. • CCTV installed • Access control system provided • Tenants responsible for own security (industrials) | Administration | • Discussions with Security contractor for appropriate controls as per level of threat. • Security Operations: Site Specific security procedures for various activities to be in place e.g. patrols, after hours procedure, JSEA for common activities• golf carts. | • Maintaining security procedures and business continuity plans. • Security Operations: Completion of FCR37 at regular intervals. | M9 | Asset Manager, Facility Management team, Service Providers | 24/7 Security is in place at the building. Numerous CCTV cameras are installed at the site which are monitored by Security. Access control system in place on site & monitored by Security.
STORM WATER DISCHARGE
Storm Water Discharge | Environmental Damage | H15 | • Ensure that areas draining to the stormwater system are maintained and free from litter and debris. • Ensure that waste containers are provided in appropriate areas to prevent litter entering the stormwater system (for exMIRVACle ash trays and litter bins). • Ensure that all chemicals stored near stormwater drains are bunded to prevent leaks and spills from entering the stormwater system. | Engineering | • Provide a spill kit where appropriate, for exMIRVACle in car park, to ensure that oils, fuels and chemicals do not enter the stormwater system. • Spill kits located throughout areas where chemicals stored. • Emergency response procedures developed in accordance with EPA requirements. • If appropriate, install trash racks, drain screens or separators to prevent stormwater becoming contaminated. | • FCR01 • FCR036 • Daily Operational Inspection | M9 | Asset Manager, Facility Management team, Service Providers
TEMPORARY FENCING
ATF Fencing | Injuries to people, damage to property | H16 | • Any temporary fencing must comply with AS 4687• 2007 – Temporary fencing and hoardings and be erected as per manufacturers/hirers recommendations to ensure fencing can withstand impact from people and any other forces such as wind. • If shade cloth is applied, the material must allow sufficient wind permeability. | Administration | • Regular inspection and maintenance | • Asset Property Holding Inspection • FCR 01 • FCR 036 |  | Asset Manager, Facility Management team, Service Providers
TRAFFIC MANAGEMENT
Car parks Loading docks Pedestrian Management Bicycle and pedestrian paths of travel | Vehicular collision, people struck by moving objects, crush injuries and damage to property | H17 | • Implement Traffic Management Plan (TMP). • Pedestrians separated from moving plant/vehicles. • Loading Docks to be designed and operated to effectively separate pedestrian and vehicles. • Rules of operation established (e.g. speed limits, looking in direction of traffic, stopping at blind corners). • Signage • Loading Dock Risk Management Plan • Speed control devices e.g. speed humps • Line markings and bollards in place. • Traffic Management and Loading Docks (WHSP027) • Traffic Management Plans • Loading Dock Risk Management Plan • Signage • Speed control devices e.g. speed humps • Line markings • Bollards | Isolation | • Where pedestrians and plant/vehicle can be separated• On• site observation/ Record of TMP and certificate of competency. • Where pedestrians and plant/vehicle cannot be separated• On• site observation/ Record of competency. • Issues and safety concerns to be raised and discussed at the tenant / retailer meetings | • Regular inspections undertaken using the MEX system of reporting and defect identification. • Appropriate signage / line marking/ barricades to be in place. | L5 | Asset Manager, Facility Management team, Service Providers | Traffic management plan review performed on an 5• yearly basis. Last review performed by RiskTech Compliance in December 2020 (link to report attached). All recommendations from this report have been actioned.
WORK AT HEIGHT
Mobile scaffolds | Falls from a height | H20 | • Mobile scaffold installed as required including sturdy structure, fully planked, internal access with trapdoor, handrail min 900 mm, mid• rail and toe boards. • Mobile scaffolds are away from edges and penetrations • Personnel removed, tools and equipment secured prior to moving • Brakes/castor wheel locks applied whilst scaffold is in use | Engineering | • If over 4 metres, erected by licenced person • Handover certificate provided (for scaffolds over 4 metres) • Inspection of scaffold every 30 days by licenced (if > 4 m) or competent person or after adverse weather conditions • Minimum 1 metre back for every 1 metre in height of the scaffold platform | • Records of Licence (if over 4 metres) • Records of certificates • On• site observation | H15 | Asset Manager, Facility Management team, Service Providers | All roof areas on site are designated as restricted access areas. A roof access permit is required to be submitted prior to an access card and key being issued by Security to access these locations. Only trained operators are permitted to operate elevated work platforms on site. A safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval prior to works being performed. Anchor points, static line systems & monorail systems are recertified on an annual basis by our current height safety maintenance provider GDP Group, last certified July 2024. A working at heights permit, roof access permit & BMU authorisation permit is required to be submitted prior to Security issuing an access card/key for roof access & keys to operate the level 14, 15 or 16 BMU’s. Only trained operators are permitted to operate the BMU’s, a register of trained operators is kept at Security. A safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval prior to works being performed. Quarterly & annual maintenance on the BMU’s is performed by GDP Group. An annual independent audit of the BMU maintenance is also performed by IntegraLift, last completed July 2024
Other Fall Prevention Strategies | Falls from a height | H16 | • For all tasks 2.0 metres and over, identified as having potential for persons to fall. • Risk Assessment to identify the most appropriate fall prevention method for the location specific task, including 'fall restraint' & 'travel restraint' utilising the Hierarchy of Control. • Emergency Rescue Plan (ERP) incorporating a Retrieval Plan developed • Managing the Risk Of Falls (WHSP024) • Permit to Work (WHSP029) • Working at Heights Permit (WHSP029B) • Roof Access Request Form (WHSP024A) • Balustrades installed to BCA requirements • Elevated work platforms • Fall protection in place i.e. travel restraint systems and/or anchor points and/or edge protection etc. • Fall arrest systems in place i.e. harnesses • Restricted access to roof areas | Administration | • Task personnel are involved and trained in the location/task specific JSEA (or equivalent) & ERP; • Task personnel have attended recognised Fall Equipment training to "Work Safely at Height" • Include potential of falling objects and hot material from overhead Hot Works in JSEA • Correct installation & use of appropriate fall arrest equipment identified above | • JSEA (or equivalent) & ERP with Retrieval Plan for specific task/location • Statement of Attainment• Work Safely at Height • Task personnel have Statement of Attainment• Work Safely at Height | M9 | Asset Manager, Facility Management team, Service Providers
Industrial rope access | Falls from height/ falling objects | H20 | • All working at height equipment to be installed and maintained in accordance with manufacturers recommendations. •Engage appropriately qualified service providers. •All roof access to be controlled. •Rope access permit to be issued prior to commencing work. | Administration | • Service Provider to undertake CMS process • Appropriate permit to be in place. • Roof Access Management Plan to be adhered to • JSEA (or equivalent) signed by work crew, for all external tasks to establish effective means of preventing falling objects and preventing injury to personnel. • Certified anchor points. | • Routinely check roof access during property inspections. • On• site observation. • Industrial Rope Access permit • Fall restraint equipment register. • Record of inspection by a competent person at maximum 6 month intervals for safety harness and max 3 months for wire ropes or other fall arrest equipment. • Anchor point(s) certified prior to use or at max. 12 month intervals. • Training in the use of fall arrest equipment verified | M9 | Asset Manager, Facility Management team, Service Providers
Building Maintenance Unit (BMU) | Falls from height/ falling objects | H20 | • Designed in accordance with Australian Standards • Operated by competent persons in accordance with Australian Standards • BMU Platform must have sufficient, clearly designated safety harness anchorage points designed to withstand forces caused by a fall of any person located anywhere on the platform. • BMU Permit issued prior to commencing works. • Access restricted. • BMU appropriately maintained as per manufacturers requirements. Remedial actions loaded into IComply for tracking and monitoring. • Managing the Risk Of Falls (WHSP024) • Permit to Work Procedure (WHSP029) • Permit to work Working at Heights (WHSP029B) • Roof Access Request Form (WHSP024A) • BMU is registered with the regulator • Only competent operators permitted to use BMU • Plant and Equipment (WHSP017) • Building Management Unit (WHSP018) • Permit to work Building Management Unit (WHS029I) • Access restricted • BMU log book • BMU appropriately maintained as per manufacturers requirements. Remedial actions loaded into iComply for tracking and monitoring | Administration | • Service Provider to undertake CMS process • Appropriate permit to be in place. • JSEA (or equivalent) signed by work crew, for all external tasks to establish effective means of preventing falling objects and preventing injury to personnel. • Certified anchor points. • Registration of BMU. | • Routinely check roof access during property inspections. • On• site observation. • BMU permit • Preoperational checks to be completed before each use (BMU to be taken out of service if faults found). • BMU Operation Log is to be completed and verified before each use. • Record of inspection by a competent person at maximum 3 month intervals. • Registration of BMU. • Anchor point(s) certified prior to use or at max. 12 month intervals. • Record of training in BMU for operators. • Record of Working at Heights training for operators |  | Asset Manager, Facility Management team, Service Providers
Roof access | Falls from height/ falling objects | H20 | • No work within 3 metres of the edge. • If access to edge of roof is required (less than 3 meters) fall arrest is required. • Fall arrest to be tested and in date • All roof access to be controlled through a master key and access control. • Roof access permit required for all roof access. | Administration | • Fall prevention strategy determined. • Scaffold or guardrail or other edge barrier provided. • Fall restraint system for flat roofs for work within 3 metres of the edge where the potential fall height is 3 metres or more. • Safety mesh installed below roof sheet. | • Handover certificate for scaffold or guardrail. • Records of inspection at max. 30 day intervals. • On• site observation. • Roof Access permit • Fall restraint equipment register. • Record of inspection by a competent person at maximum 6 month intervals for safety harness and max 3 months for wire ropes or other fall arrest equipment. • Anchor point(s) certified prior to use or at max. 12 month intervals. • Training in the use of fall arrest equipment verified. | M9 | Asset Manager, Facility Management team, Service Providers
Ladders | Falls from height/ falling objects | H16 | • Platform ladders to be used. If platform ladder cannot be used a risk assessment is to be completed. • All ladders to have an annual inspection and have a Mirvac compliance sticker • Restricted use of ladders, especially near open penetrations, edges, stairs or balconies • No climbing above 3rd highest rung, use 3 points of contact and chest to remain within stiles of ladder | Engineering | • Visual inspection of ladders • Ladder rated for industrial use (120 kg max), minimum 1.2 metres and in good condition. • Where repeated access to heights of 2 metres or more is required, an elevated work platform, (e.g. mobile scaffold or other) is used instead of a ladder, or handrail erected where ladder near an edge | • "Inspection before each use" included as Control Measure in JSEA for task • Included in Induction topics • On• site observation | M10 | Asset Manager, Facility Management team, Service Providers
Hoist (Personnel) Hoist (Personnel & Materials) | Falls from height/ falling objects | H22 | • Hoist working as designed including bells, limit switches, SWL displayed and moving parts guarded • Hoist operator competent • For personnel hoist, communication system functional • People not underneath areas where objects could fall | Engineering | • Handover certificate provided • Maintenance of hoist carried out as per manufacturer's recommendations • Inspection of hoist carried out (including daily log book) • Operator licenced (specific for materials or people required) • Maintenance of communication system is carried out as per manufacturer's requirements • Exclusion zone in place with a spotter (where required) maintained • Areas around hoist penetration meshed/guarded on all sides to a minimum height of 2.5 metres on each floor | • Records of certificates • Records of maintenance • On• site observation • Records of competency | H14 | Asset Manager, Facility Management team, Service Providers
Penetrations including ducts and risers | Falls from height/ falling objects | H16 | • Penetrations greater than 200 x 200mm are covered or provided with edge protection | Engineering | • Minimum 19mm plywood to cover penetrations • Covers are fixed with dyna bolts or similar to prevent unauthorised removal/tMIRVACering • Covers are capable of withstanding expected loads from people, plant and equipment or materials • Fall prevention strategy determined for work around ducts or risers • Use of safety harness to be in fall restraint mode for work around ducts or risers • Anchor point to be adequately load bearing | • On• site observation • Training in the use of fall arrest equipment verified. | M10 | Asset Manager, Facility Management team, Service Providers
UNDERGROUND STORAGE TANKS
Underground storage tanks (UST’s) | Soil and Groundwater contamination, confined space (see confined space above) | H20 | • Regular inspections and testing. • Install safety and identification signage. • Dangerous Goods licence if quantities exceed the limit | Engineering | • Implement Environmental Management Plan as per EPA requirements. • Implementation of Signage and storage requirements. | • Regular inspections and testing. | M6 | Asset Manager, Facility Management team, Service Providers
VISITORS
Visitors | Injuries to visitors | H20 | • ALL visitors to be escorted while on the premises. • Relevant safety concerns and issues to be advised to visitors by escorting agent. NB: Visitors who frequent (more than once) site must be inducted. | Engineering | • All visitors to sign in and out when entering and exiting the premises. | • FM and HSE to regularly review CMS for compliance. | M6 | Asset Manager, Facility Management team, Service Providers
ENVIRONMENTAL ASPECTS
AIR QUALITY
Indoor and outdoor air quality | Adverse reactions by tenant, public and employees to chemicals, particles and/or substances in the air | H16 | • Minimise dust released by disturbance of soil and/or gaseous emissions from operation of plant and equipment or vehicles. • Provide clean, healthy, fresh air to facility at all times. • Ensure adequate ventilation. • Ensure recommended chemicals and treatments are used in the correct quantities at all times. | Engineering | • Testing for bacteria, CO’s, temp and humidity on an annual basis in accordance with relevant AS. Reports reviewed for any out of parameters levels which require corrective action and the records to be kept on file. • Service provider engaged to carry out testing must provide written report which FM is to review for out of parameter levels, addressing corrective action where required. • Manufacturers recommendations for safe use of products• Safety Data Sheets (SDS) and equipment to be adhered to for processes within buildings that may affect air quality i.e. dry cleaning, generators etc. • Plant inspected on arrival to site. • Daily pre• start completed. • Inspection and maintenance as per manufacturer's requirements. • Minimise stockpile heights. • Stabilise long term stockpiles e.g. grass/ hyrdomulch | • FM to ensure annual testing of IAQ, or at more frequent intervals if deemed necessary. • Monthly testing of water system quality. • Water treatment service Provider to be regularly monitored to ensure the Cooling Tower Manual compliance is maintained and completed as required. • On• site observation • Maintenance records available | M10 | Asset Manager, Facility Management team, Service Providers | Indoor air quality testing performed by a specialist contractor on an annual basis. Last test performed by IAQ Environst February 2024 , next IAQ testing due February 2024. HVAC preventative maintenance is performed by our current mechanical services provider - D&E Air Conditioning, all maintenance is currently up to date.
RESOURCE MANAGEMENT
Potable Water | Depletion of non• renewable resources | M11 | • Identify opportunities to reduce potable water consumption in facilities where Mirvac Facility Management have operational control. • Deliver on the Mirvac 'This Changes Everything' strategy to implement a 5% reduction in potable water intensity by FY23. | Administration | • Monitor and report on building potable water consumption. • Perform annual NABERS Water ratings to benchmark performance. • Investigate new water efficiency technologies. | • Monitor building daily usage profiles generated from smart meter data. • Perform a comparison review of monthly water consumption generated from smart meter data. • Review historical quarterly water consumption data from invoices and meter data. • Review and analyse annual NGERS data. | L3 | Asset Manager, Facility Management team, Service Providers
Energy | Depletion of non• renewable resources Emissions of Greenhouse Gases | M11 | • Identify opportunities to reduce energy consumption and Greenhouse emissions in facilities where Mirvac Facility Management have operational control. • Deliver on the Mirvac 'This Changes Everything' strategy to implement a 5% reduction in carbon intensity by FY21. | Administration | • Monitor and report on building energy consumption and Greenhouse emissions • Perform annual NABERS Energy ratings to benchmark performance. • Investigate new energy and carbon efficiency technologies. | • Monitor building daily usage profiles generated from smart meter data. • Perform a comparison review of monthly water consumption generated from smart meter data. • Review historical quarterly water consumption data from invoices and meter data. • Review and analyse annual NGERS data. | L3 | Asset Manager, Facility Management team, Service Providers
SPILLS OR DISCHARGE CAUSING CONTAMINATION
Storage and Handling of Hazardous Substances and/or Dangerous Goods | Spills or discharge causing contamination Injury/Illness of Member of Public, Contractor or Worker | H17 | • Substances/goods stored in accordance with Safety Data Sheet (SDS)/(MSDS) • Storage area bunded and away from drainage inlets or other sensitive areas. • Substances/goods stored and handled in accordance with SDS (MSDS). • Appropriate PPE made available. • Users trained in correct use of substance. • Hazardous Substances (WHSP032) • Underground Storage Tanks/Bulk Fuel Storage (WHSP033) • Spill Response (WHSP035) • Spill kits located throughout areas where chemicals stored • Land Contamination (WHSP034) • Emergency response procedures developed in accordance with EPA requirements | Engineering | • Signage and emergency response equipment available relevant to the class of substance/good stored. • Nominated personnel trained in spill response. • Bunding designed to meet required 110% of largest individual container. • No fuel storage within 50 metres of a water body. • Spill Kit available. • Minor quantities only stored which do not require licencing. • Pressurised gas cylinders/bottles secured from toppling and stored in ventilated area with restricted access. | • Spill Kit stocked • Records of spill response training available • On- site observation • Drainage outlet to bunding locked • Hazardous Substances (WHSP032) | M10 | Asset Manager, Facility Management team, Service Providers | Asbestos & hazardous materials survey performed by a specialist contractor on a 5- yearly basis. The last asbestos & hazardous materials survey for the site performed by RiskTech Compliance in December 2020 identified that there is no asbestos materials on site. The report recommended to maintain identified synthetic mineral fibre (SMF) containing materials in good condition & only remove under controlled conditions. No polychlorinated biphenyls (PCB) or lead paint was identified on site. Annual diesel tank integrity testing performed by a specialist contractor. Last test performed by Premo Australia in December 2021. All roof areas on site are designated as restricted access areas. A roof access permit is required to be submitted prior to an access card and key being issued by Security to access these locations. Only trained operators are permitted to operate elevated work platforms on site. A safe work method statement specific to the task being performed is required to be submitted to the Facilities Manager/ Facilities Supervisor for review & approval prior to works being performed. Anchor points, static line systems & monorail systems are recertified on an annual basis by our current height safety maintenance provider GDP Group, last certified July 2024.
WASTE
Recycles • general and prescribed waste (solid & liquid) | Non- compliance and breaches of EPA regulations. Inadequate control of general waste e.g. segregation, recycling etc., unlicensed discharge to sewer. | H16 | • Waste is minimised and stored securely. • Waste generated is collected and recycled in accordance to the Waste Management Hierarchy. • Waste material is disposed of by reputable contractors in accordance with legislative requirements. • Deliver on the Mirvac 'This Changes Everything' strategy to implement a 85% recycling rate across the Investment portfolio by FY23. • Trade waste consent available for discharge to sewer e.g. grease traps and cooling tower waste water • Grease traps emptied quarterly by appropriate service provider • Waste Management Procedure (WHSP052) • Segregation of general waste and recycling • General waste and recycling collected by appropriate service providers • Trade waste consent available for discharge to sewer e.g. grease traps and cooling tower waste water • Grease traps emptied quarterly by appropriate service provider | Engineering | • Waste storage facilities established according to estimated volume including paint tanks and recycling bins/skips for all streams. • Waste sorted on site or at the waste depot. • Transporter and receiver of waste are EPA Licensed. • Waste transport certificate is obtained (this verifies waste was disposed of in the correct facility) e.g., Adhesives (excluding solid inert polymeric materials), Lime sludges or slurries, Paint sludges and residues, Pesticides (including herbicides & fungicides), Timber preservative residues. • Mirvac require waste contractors to only utilise appropriately licenced facilities and to declare these facilities to Mirvac with the licencing details. • Mirvac investigate and implement applicable waste management and recycling technologies. • Waste Management Plans for each asset where Mirvac Retail manage waste services. • Perform waste audits to identify waste minimisation and recycling opportunities. | • Monthly waste records including quantities diverted from landfill to recycling • Records of licences. • Review of service provider JSEA for works which constitute a “material risk to environment/ generate significant wastes streams” prior to commencement of work. • Records of certificates of disposal from waste removal contractor which are forwarded to the Sustainability data collection point. • Hold regular meetings with waste contractors. • Review historical quarterly water consumption data from invoices and meter data. • Review and analyse annual NGERS data. | L5 | Asset Manager, Facility Management team, Service Providers | Several waste streams (general waste, mixed recycling, paper/cardboard, organic, polystyrene & coffee cups) are available at the site. Segregation of waste occurs as building occupants dispose of the waste into the designated bins. General waste, mixed recycling, paper/cardboard & organic is collected & disposed of accordingly by our current waste management provider – Veolia. Collection & disposal of polystyrene & coffee cups is managed by our current cleaning provider – Consolidated Property Services. A trade waste agreement between City West Water & MIRVAC is currently in place for the site, this agreement expires 15/10/24. The grease traps on site are emptied every 13 weeks by our current waste management provider – Veolia.
UNCATEGORIZED
Radio Frequency Radiation (RFR) | Exposure to RFR. | H16 | • Radiofrequency Radiation (WHSP023) • RFR Risk Assessment • Utility owner RFR Plan • Radiation warning signage provided at access to telecommunications equipment area • Access is restricted to RFR areas • Exclusion zones highlighted onsite | Engineering |  |  | L5 | Asset Manager, Facility Management team, Service Providers | The last radio frequency radiation assessment of the site was performed by RiskTech Compliance in December 2020. Next assesment due December 2025. No radio frequency mobile phone base station antennas were observed on any roof areas of the building.
Excavations | Impact to services e.g. electricity, gas, water Falls Ground collapse | M10 | • Permit to Work (WHSP029) • Service locating/scanning activities • Manual handling training | Administration |  |  | L3 | Asset Manager, Facility Management team, Service Providers | Only inducted & authorised personnel are permitted access to site to perform works. A safe work method statement is required to be submitted to the Facilities Manager/Facilities Supervisor for review & approval prior to any non• routine works being performed.
Working in Isolation | Working in isolation within hazardous areas e.g. plant rooms | H16 | • Working Alone (WHSP050) • Working From Home Guidelines (WHSP057) • Communication protocols | Engineering |  |  | L5 | Asset Manager, Facility Management team, Service Providers | Prior to commencing any work on site, all contractors must sign in to site via the contractor terminal iPads located in the P1 loading dock. Contractors are required to sign in & out each time they enter or depart the site. Access cards & keys must also be signed out at Security. These practices allow tracking should a contractor be working alone & not return access cards/keys or sign out.
Trees | Falling objects, Pests, Fire Load | M9 | • Hazard Inspection Form (WHS003E) | Engineering |  |  | L2 | Asset Manager, Facility Management team, Service Providers | Daily inspections of the site, including garden areas are conducted by the Facilities Management team and/or Security team.
Crowded Places | Risk of attacks, public demonstrations, impact to access and egress | L5 | • Crowded Places (WHSP013) • Property Site Vulnerability Assessment (WHS013A) • Security Management (WHSP054) • Security Personnel • CCTV • Evacuation Plan (WHSP011) | Engineering |  |  | L1 | Asset Manager, Facility Management team, Service Providers | Property vulnerability assessment reviewed & updated on an annual basis, last review performed 20-06-2024 24/7 Security is in place at the building. Numerous CCTV cameras are installed at the site which are monitored by Security. Access control system in place on site & monitored by Security.
Loads on suspended slabs | Overloading of point loading of suspended slab areas due to potential plant or equipment | M10 | • Review of scope of works • Engage engineer where appropriate • Security inspections during works | Engineering |  |  | L5 | Asset Manager, Facility Management team, Service Providers | Prior to any additional plant & equipment being installed, a weight load review by a structural engineer is required prior to ensure no overloading on the concrete slab.
ACP | Panels identified as having Polyethylene core. | L5 | ACP Risk Management plan in place • Façade inspections and monitoring • Fire mitigation controls established for potential ignition sources | Engineering |  |  | L1 | Asset Manager, Facility Management team, Service Providers | A façade audit by Core Project Consulting identified that aluminium composite panels (ACP) are present in the white protruding architectural cladding to the Western elevation - Marvel Stadium side. Accredited lab testing confirmed that the cladding has a core consisting of approx. 70% fire retardant filler & 30% polyethylene. In the event of a fire on this side of the building, i.e. bin fire, etc, existence of the ACP needs to be taken into consideration & reported to Fire Services Victoria accordingly.
Shared Services Interruption / Damage / Outage / Penetrations | Major disruption | M10 | • Inspected and maintained • Electrical Safety (WHSP016) • Permit to Work (WHSP029) • Access Control • Permit to Work (WHSP029) • Core Hole and Wall Penetrations Permit (WHSP029F) • Service locating/scanning activities | Engineering |  |  | L5 | Asset Manager, Facility Management team, Service Providers | Only inducted & authorised personnel are permitted access to site to perform works. A safe work method statement is required to be submitted to the Facilities Manager/Facilities Supervisor for review & approval prior to any non- routine works being performed. Access to plant areas is restricted to authorised personnel only. An access card & key is required to be obtained from Security to access these areas. Approval must be obtained from the Facilities Manager/Facilities Supervisor prior to any floor or wall penetration works on site. Review of the proposed penetration/s by a structural engineer at the contractors’ expense may be required prior to works being approved. In addition, the hazardous materials register for the site should be reviewed to ensure no hazardous materials are present in the proposed work area. Dependant on this review, samples may need to be taken for analysis prior to works being approved. These requirements are listed in the House Rules document for the site.
Note on A4: Amanda Reid: (Potential cause of injury/illness or cause of damage to the environment – as identified on Hazard/Aspect Worksheet)
Note on B4: Amanda Reid: (What could happen)
Note on D4: Amanda Reid: (According to Hierarchy of Controls, Elimination of the hazard/aspect is our primary objective)
Note on F4: Amanda Reid: (What we need to do to ensure the Controls are implemented, effective & operational)
Note on G4: Amanda Reid: (What tools are used to monitor the critical controls and critical activities for effectiveness)
Note on J4: Amanda Reid: (Statutory requirements from Commonwealth or State Government, Council Ordinances, Regulations, By-laws, EPA, Australian Standards and Codes of Practice, relevant to each Critical Control)
Note on D64: Amanda Reid: What is the O&I version Melanie Jones: Confirmed with Al Lutzke no specific O&I document is in place, we would reference AS.
Note on D68: Amanda Reid: reference stop work temp / humidity levels Melanie Jones: *SafeWork NSW* WHS Regulations don't specify a specific temperature because exposure to illnesses is dependent on a number of factors.
Note on J93: Amanda Reid: Check if referencing correct mmr

## Risk Ranking
Team members: (Initial team, then members in each revision team) |  |  | Date created for this workplace: |  | Date of This Revision: | Workplace: | [5 empty] | Division:
Current Revision:(A, B,……)
LIKELIHOOD (L) |  |  | CONSEQUENCE (C) - IMPACT |  |  | RISK RANKING (R) | [5 empty] | Risk Ranking Summary
[7 empty] | 1 | 2 | 3 | 4 | 5 | EXTREME-These risks are Unacceptable. The work activity should be halted until Critical Controls are implemented which reduce the risk to no greater than High. If it is not possible to reduce the risk, the work should remain prohibited.
A | Almost Certain | Expected to be the outcome in most cases - 91 - 100% probable | 1 | Insignificant | First aid injury/s (FAI), minor environmental impact. Minor/ medium term social impacts on local population, or expected financial impact = < $10k. | A | M (8) | M (13) | H (18) | E (23) | E (25)
B | Likely | Will probably occur in most circumstances - 51 - 90% probable | 2 | Minor | Medical Treatment Injury (MTI), minor short term environmental impact. Attention from media & heightened concern by local community or expected financial impact = $10k - $100k. | B | M (7) | M (12) | H (17) | H (21) | E (24) | HIGH-These risks must be reduced where possible by implementing higher levels of Critical Control using the Hierarchy of Controls. Where the residual risk is not able to be reduced lower than High, a controlled work methodology must be in place and reviewed by the HSE Lead and Workplace Manager.
C | Possible | Might occur some time 31 - 50% probable | 3 | Moderate | Lost Time Injury (LTI). Serious irreversible injury/disease, serious medium term environmental harm. Adverse local media coverage, or expected financial impact = $100k - $1 mill. | C | L (4) | M (11) | H (16) | H (20) | H (22) | MEDIUM-Identified Critical Controls must be capable of reducing the risk by eliminating or minimising to an acceptable level. # Critical Activities & Monitoring are to be identified and implemented by Supervisory staff.
D | Unlikely | Could occur, but would not be expected - 10 - 30% probable | 4 | Major | Single fatality, permanent localised environmental harm. Substantial risk to corporate reputation, sustained adverse local media coverage, major repairs or project outcomes affected, or expected financial impact = $1 - 10 mill. | D | L (3) | M (6) | M (10) | H (15) | H (19) | LOW-The work is relatively safe and can be managed by following routine MMRs, procedures, guidelines & JSEA/SWMS. No further action is required, unless additional hazards arise during the work.
E | Rare | Rare that this would occur - no previous occurrence in similar circumstances - < 10% probable | 5 | Catastrophic | Multiple fatalities, permanent long term and extensive environmental harm. Extreme risk to corporate reputation, public outrage & national media coverage, high profile litigation, class action, threat to business division viability or expected financial outcome = $10 - $100 mill. | E | L (1) | L (2) | L (5) | M (9) | H (14) | HIERARCHY OF CONTROLS Eliminate - remove hazard completely; Substitute - replace with less hazardous; Isolate - separate the worker from the hazard Engineer - guarding, mechanical aids, ventilation; Administrate - reduce exposure, procedures, consultation; PPE - to be used in addition to above.
Mirvac HSE
Element 3 - Risk Management
Risk & Opportunity Register
Mirvac HSE
Element 3 - Risk Management
Risk & Opportunity Register

## Typical Hazards & Aspects
Typical Significant Hazards & Aspects Checklist
CONTACT WITH ELECTRICITY - Any contact with electricity by person or by plant /vehicle leading to potential electric shock to a person. | HOT WORK - Any Flame or Spark producing activity - welding, gas-cutting, grinding which may cause fire or injury. |  | EFFECTS ON COMMUNITY - Any activities that may lead to actual or perceived degradation of the local community environment e.g. heavy traffic, parking, noise or negative interaction with project personnel.
FALLING OBJECTS - Potential for objects, tools, materials to fall to levels below and cause injury or damage. | MANUAL HANDLING - Stress to muscles from repetitive movements, sudden loading, incorrect lifting, handling techniques or overloading. |  | DISTURBANCE TO FLORA & FAUNA - Disruption, damage or injury to animals, their habitat or local trees, vegetation and plants.
MOVING PLANT/ VEHICLES - Potential collision between items of moving plant/ machinery, or vehicles or contact with persons | CABLES UNDER TENSION - Pre & Post Stressing of concrete. Come-along or chain-block use, hoists and slings. |  | VIBRATION - Vibration from activities that may have a physical effect on the surrounding environment.
MOVING PARTS & STORED ENERGY - Person hit by suspended / flying object, contact with or entanglement in moving parts. | STRUCTURAL FAILURE - Falsework, Formwork & Masonry walls. Collapse or loss of the load-carrying capacity of a component or the structure itself. | SOIL EROSION & SURFACE RUN-OFF - Loss of ground material due to wind/ water action, causing potential siltation/ pollution of waterways. | ENDANGERED SPECIES - Incorrect management, habitat control & identification of endangered species in the local environment.
SUBSTANCES INCLUDING CHEMICALS, GASES & DANGEROUS GOODS - Potential contact to eyes, skin or lungs with Hazardous Substances or Dangerous Goods. | EXCAVATION/ PILING/ BORING/ TRENCHING - Fall of material causing engulfment, persons falling, plant overturning, flooding, contact with underground services. | CONTAMINATED / ACID SULFATE SOIL - Incorrect management/ identification of contaminated or ASS soils. | HERITAGE ISSUES - Incorrect management, consultation or identification of local cultural or heritage issues.
HAZARDOUS MATERIALS - Asbestos, Lead, Polychlorinated Biphenyls (PCBs), synthetic mineral fibres or other as identified causing significant illness. | WORK IN CONFINED SPACES - Areas identified as having potential atmospheric contamination, lack or excess of oxygen or engulfment by free-flowing solids or liquids. | SPILLS OR DISCHARGE CAUSING CONTAMINATION - Discharge & transfer of fuels/oils (hydrocarbons), hazardous substances, dangerous goods, concrete truck wash-out. | DEVELOPMENT APPLICATION REQUIREMENTS - Failure to properly evaluate and implement critical controls may lead to environmental harm, non-conformance, fines and damage to Mirvac reputation.
OCCUPATIONAL NOISE - Workplace noise levels from activities, plant or equipment which has the potential to cause hearing damage to persons in the vicinity. | WORK AT HEIGHT - Potential for persons to fall from an elevated position and sustain a significant injury. | AIR QUALITY - Potential for pollution by dust, from wind action, disturbance of soil by vehicle/ plant movements. Exhaust emissions from plant/vehicles.
PROJECTILE FIRING TOOLS - Hilti or Ramset explosive charge tools and air or gas powered Nail guns. | WORK OVER OR NEAR WATER - Potential for persons/ plant to slip/ fall into water and risk of drowning. | WASTE - Incorrect management of solid/ liquid waste streams leading to contamination of the environment e.g. bulk earthworks, dewatering, concrete & paint.

## Sheet1 (hidden)
L1
L2
L3
L4
L5
M6
M7
M8
M9
M10
M11
M12
M13
H14
H15
H16
H17
H18
H19
H20
H21
H22
E23
E24
E25

## Criteria
Risk Likelihood Criteria
Likelihood Rating | Description | Frequency
Almost Certain | The risk event will occur within the planned session. | Several events each year |  | Catastrophic | Almost Certain
Likely | The event is likely to occur within the planned period | In the next 12 months |  | Major | Likely
Possible | The event may occur within the planned period. | Every 1 – 2 years. |  | Moderate | Possible
Unlikely | The event is not likely to occur within the planned period. | Every 2 - 5 years |  | Minor | Unlikely
Rare | Potentially once in the life of the facility. | One off occurrence |  | Insignificant | Rare
Risk Management Matrix
Categories | Catastrophic | Major | Moderate | Minor | Insignificant
Health & Safety | Single or multiple fatalities OR Notification to WorkCover - investigation conducted, adverse findings resulting in material fines and/or criminal proceedings and/or material adverse operational impact | Serious injury to an individual or a dangerous near miss. OR Notification to WorkCover - investigation conducted, adverse findings resulting in material fines and/or material adverse operational impact | Injury or illness resulting in prolonged inability to return to work or normal activities OR Notification to WorkCover – investigation conducted, adverse findings resulting in low level fines and/or immaterial adverse operational impact | Injury or illness requiring hospitalisation and resulting in the inability to return to work (LTI) or normal activities the next day OR Notification to WorkCover – investigation conducted, no adverse findings | Medical treatment required but excluding hospitalisation with the ability to return to work or normal activities the next day OR Notification to WorkCover – no action taken as not classified as a notifiable incident
Environment | Severe damage or impairment to an environmental area and/or ecosystem affecting a wide area for more than 10 years. | Reversible, major impairment to a large environmental area and/or ecosystem. Impact affecting a wide area for 1 year – 10 years. | Reversible, major impairment to a moderate environmental area and/or ecosystem area affected for 1 month- 1 year. | Reversible, minor impairment to a large environmental area and/or ecosystem area affected for less than 1 month. | Reversible, minor impairment to a small environmental area and/or ecosystem
Community & Reputation | Prolonged significant decrease in investor and/or shareholder support OR Extensive adverse coverage in the national and/or international media for multiple days OR Negative viral social media coverage | Complaint from stakeholder(s) escalated to Board OR Significant decrease in investor and/or shareholder support OR Sustained negative reports by financial analyst/s OR Extended adverse coverage in national media | Complaint from stakeholder(s) requiring CEO response OR One-off negative report by financial analyst/s OR Isolated adverse national media coverage | Complaint from stakeholder(s) requiring Leadership Team response OR Widespread industry knowledge of incident or issue OR Prolonged adverse local media coverage | Complaint from stakeholder(s) requiring asset level response OR Isolated industry knowledge of incident or issue OR Isolated adverse local media coverage
Legal & Compliance | Non-compliance with a legal/regulatory obligation which results in prosecution, fines and/or the imposition of restrictions on the operation of the business and/or criminal prosecution for directors or officers OR Downward credit rating adjustment which implies AMPC rated at or below S&P BB+ or equivalent rating by other major agency OR Multiple Class Actions or Litigation in the High Court of Australia OR Loss of licenses and/or suspension of GTP shares on ASX OR Parliamentary inquiry | Non-compliance with a legal/regulatory obligation which results in prosecution, fines and/or the imposition of restrictions on the operation of the business OR Downward credit rating adjustment which implies AMPC rated at or below S&P BBB- or equivalent rating by other major agency OR Class Action or Litigation in the Supreme Court, Federal Court or similar | Non-compliance with a legal/regulatory obligation which results in an independent investigation by a regulatory authority or lender and/or requires corrective action OR Downward credit rating adjustment which implies AMPC rated at or below S&P BBB or equivalent rating by other major agency OR Non-compliance with a material contractual obligation which results in arbitration between the counterparties and material adverse impacts to activities defined by contract | Non-compliance with a legal/regulatory obligation which requires reporting and no further action OR Downward credit rating adjustment which implies AMPC rated at or below S&P BBB+ or equivalent rating by other major agency OR Non-compliance with a material contractual obligation resolved through arbitration between the counterparties and limited adverse impacts to activities defined by contract OR Litigation in a Local of District Court or equivalent | Non-compliance with a legal/regulatory obligation which can be resolved internally or informally with the regulatory authority or counterparties OR Non-compliance with a material contractual obligation resolved by negotiation between the counterparties and no adverse impacts to activities defined by contract
Operations: people, processes & systems | An unexpected event requiring Board effort OR Critical system outage or fault affecting critical processes for more than 24 hours and/or irreversible impact to data OR Unexpected loss of CEO and/or 3 or more LT members compromising AMPC’s ability to meet strategic objectives OR Loss of customer and/or guest critical service(s) for > 2 weeks OR Unexpected material vacancy due to loss of several major tenants concurrently on short notice OR Forecast negative return on investment for more than one financial year | An unexpected event impacting daily operations requiring significant LT effort OR Critical system outage or fault affecting critical processes for up to 24 hours and/or degradation of data OR Unexpected loss of senior management and/or up to 2 LT compromising AMPC’s ability to meet strategic objectives OR Loss of customer and/or guest critical service(s) for up to 2 weeks OR Unexpected material vacancy due to loss of a major tenant on short notice OR Forecast negative return on investment over a financial year | Critical system outage or fault affecting critical processes for up to 12 hours and/or reversible impact to data OR Unexpected loss of staff at an asset or function compromising multiple assets’ ability to meet critical operational requirements OR Loss of customer and/or guest critical service(s) for up to 1 week OR Forecast zero return on investment | Non-critical system outage or fault for up to 48 hours affecting non-critical processes and/or reversible impact to data OR Unexpected loss of staff at an asset or function compromising 2 assets’ ability to meet critical operational requirements OR Loss of customer and/or guest critical service(s) for up to 3 days | Non-critical system outage or fault for up to 24 hours affecting non-critical processes and/or reversible impact to data OR Unexpected loss of staff at an asset or function compromising 1 asset’s ability to meet critical operational requirements OR Loss of customer and/or guest critical service(s) for up to 1 day
Strategy | AMPC unable to meet multiple strategic objectives | Severe impact to AMPC’s strategic objectives | Major impact on one or more business division level objectives; limited impact to AMPC’s strategic objectives | Major impact on one or more business division level objectives; no impact to AMPC’s strategic objectives | Minor impact on one business division level objective; no impact to AMPC’s strategic objectives
Financial | Unexpected direct loss or cost $20m+ or 20% of forecast FFO | Unexpected direct loss or cost of $5-20m or 15-20% of forecast FFO | Unexpected direct loss or cost of $1m-5m or 5-15% of forecast FFO | Unexpected direct loss or cost of $100,000-1m or 1-5% of forecast FFO | Unexpected direct loss or cost of $100,000 or 1% of forecast FFO

## MAJOR HSE RISKS
Asset Name: (insert review date)
Date: (insert review date)
Prepared By: (Insert names/s)
Note: Insert the top 5 HSE risks for your Asset and or any unusual HSE risk
Risk Hierarchy: E = Extreme, H = High, M = Medium, L = Low
Description Provide a description of the identified task or operation | Upcoming, active or closed | Hazard/Risk | Untreated Risk | Risk Mitigation Strategy Provide a summary of the risk mitigation strategy action | Monitoring Activities Provide a summary of how the risk mitigation strategy action will be monitored | Residual Risk | Person / Team Member to Monitor | Changes/ Reviews | Comments Provide any other general comments as required
High Voltage Power | Acive | High Voltage Power | N | • Permit to Work including Electrical Works Permit | • Permit to Work including Electrical Works Permit | Y | FM / Security / Contractors
|  |  |  | • Licensed electrical High Voltage contractors | • Licensed electrical High Voltage contractors
|  |  |  | • Partial remote 'switching' | • Partial remote 'switching'
|  |  |  | • Specific PPE kit and retrieval system in place | • Specific PPE kit and retrieval system in place
|  |  |  | • Specific Risk Assessment/SWMS prior to commencement. * HV Training complated by Colin White July 2021 | • Specific Risk Assessment/SWMS prior to commencement. * HV Training complated by Colin White July 2021
|  |  |  | • High Voltage Management Plan with Western Power (Authority/Supplier | • High Voltage Management Plan with Western Power (Authority/Supplier
Loading Dock | Active | Hazard | N | P2 Flinders Lane entry to our Loading Dock area. Dock facilitiates all incoming deliveries for tenants and building management. Main Waste Room and waste collection point. Mechanical Diesel Room. Grease Traps. Cleaners Store Room. Dock Master Office and Control Room access point. 24/7 Security onsite and manage the area, dedicated dock master M-F from 6am - 6pm. | 24/7 security /Dock Master and Cleaning supervisor to manage in line with SOP's along with FM FCR.36 Audits | N | FM/Security/Contractors
Thin Slabs | Active | Hazard | N | - Review of scope of works - Engage engineer where appropriate - Security inspections during works | A reivew process is in place for all penetrations. All pentrations are reviewed by Aurecon (structural engineers). Scanning is required before pentrations are approved. | Y | FM/Security/Contractors
Electric vehicle charger P1 carpark level | Active | Hazard | N | Fire suppresion system in place. Car park exhaust sytem in place | Carpark is fitted with smoke and CO detection. | Y | FM/Security/Contractors
Crowded Placed | Active | Risk of attacks, public demonstrations, impact to access and egress | N | - Property Site Vulnerability Assessment - Security Management (WHSP054) - Security Personnel - CCTV - Evacuation Plan | 24/7 securityto manage in line with SOP's along with FM | Y | FM/Security/Contractors
Major HSE Risks from the Risk Register